1

SPM99 Manual - May 2001

Written by Dick Veltman and Chloe Hutton, with the help of John Ashburner, Rik Henson and other members of the FIL and ICN. Please send feedback to Dick (DJ.Veltman@azvu.nl) and Chloe (chutton@fil.ion.ucl.ac.uk).

Preface

This document provides step-by-step guidelines for those who are not yet familiar with the use of SPM’99. 

SPM has an extensive web site at:


http://www.fil.ion.ucl.ac.uk/spm.  

Practical information regarding the downloading and installation of SPM can be found at:


http://www.fil.ion.ucl.ac.uk/spm/distrib.html. 

Academic peer-reviewed papers providing a theoretical reference for SPM are available at:


http://www.fil.ion.ucl.ac.uk/spm/dox.html. 

Information about SPM courses and course notes can be accessed from:


http://www.fil.ion.ucl.ac.uk/spm/course. 

Example data sets (which are also used in this manual) are available for downloading from:


http://www.fil.ion.ucl.ac.uk/spm/data. 

Help is available via the Help option of the SPM interface, and more detailed help in using SPM is available through the SPM email list:


http://www.fil.ion.ucl.ac.uk/spm/help. 

Third party documentation is also available. An extensive site describing many aspects of neuroimaging, including the use of SPM and links to image display software [Matthew Brett – matthew.brett@mrc-cbu.cam.ac.uk] can be found at:


http://www.mrc-cbu.cam.ac.uk/Imaging.

Protocols and tools for use with SPM99 [Kalina Christoff – kalina@psych.stanford.edu] can be found at:


http://www-psych.stanford.edu/~kalina/SPM99/ /.

Some useful snippets of code from the SPM email list for manipulation of images and results display [Tom Nichols - nichols@sph.umich.edu] can be found at:


http://www.sph.umich.edu/~nichols/JohnsGems.html 

MRIcro - SPM compatible, Windows based software package for viewing medical images, converting image formats and identifying regions of interest [Chris Rorden chris.rorden@nottingham.ac.uk] can be freely downloaded from:


http://www.psychology.nottingham.ac.uk/staff/cr1/mricro.html.

Apologies if there are other useful sites that are not included here. Please remind us about them via the SPM email list.

Requirements

The present version of SPM requires core MATLAB (version 5.2 or higher; Maths Works, Inc., Natick, MA, USA) to run. The image format used is the simple header and image file format of ANALYZE (Biomedical Imaging Resource, Mayo Foundation). In SPM, image headers can be edited (and created) using the HDR edit option (described in section 5 below). Several researchers have developed routines for conversion of other image formats to ANALYZE format, (e.g. MRIcro). Other information about image converters is also available via the email list.

Contents

Preface

1. Getting started
2

2. Spatial pre-processing
5


2.1 Realignment
5

2.2 Coregistration
10

2.3 Slice timing
14

2.4 Normalisation
16

2.5 Smooth
23

2.6 Segment
24

3. Model specification and parameter estimation
26


3.1 PET/SPECT models
26

3.2 fMRI models
35

3.2.1 Specification of a model – first step
35

3.2.2 Specification of a model – second step
41

3.3 Customisations for PET/SPECT and fMRI statistics
45

3.4 Basic models
46

4. Results assessment
51


4.1 Example 1: single-subject fMRI block design (plotting and overlays)
51

4.2 Example 2: multi-subject PET design (volume of interest, masking 


and conjunction analyses)
59

4.3 Example 3: single-subject event-related fMRI design (F-contrasts)
70

5. Miscellaneous functions and Utilities
81

5.1 Display
81


5.2 CheckReg
82

5.3 Render
82

5.4 PET/fMRI
84

5.5 Toolboxes
84

5.6 Means
84

5.7 ImCalc
85

5.8 HDR edit
85

5.9 Help
85

5.10 Utils
85

5.11 Defaults
86

5.12 Quit
86

1. Getting started 

[image: image1.png]SPM99

developed by members and collaborators of
The Wellcorme Department of Cognitive Newrology

Institure of Neurclogy, University College London

| e

AboutSPM| | seiweh | quit





For start-up from Matlab, type spm.

Select from:

PET and SPECT (or enter spm pet)

Studies are considered as a series of independent scans

fMRI  (or enter spm fmri)
Studies are considered as a temporally correlated time-series

N.B. 

· The interface and usage for the above models of operation are similar. Differences between these components are indicated where applicable.

About SPM

SPM’99 information

SPMweb
Link to the SPM-pages of the Wellcome Dept of Cognitive Neurology website (http://www.fil.ion.ucl.ac.uk/spm)

Quit
Exits SPM, closes windows and clears workspace variables

N.B. 

· The directory from which SPM is started becomes the SPM working directory, to which a graphical output file spm99.ps (postscript file containing displays) and the results of statistical analyses are written. 

· The spm99.ps file is appended when written to. SPM signals the risk of overwriting previous statistical results.

The SPM graphical user interface

[image: image2.png]Realign Slice iming Smooth

Coregister] Normalize Segment

fMRI models. Basic models

Explore design Estimate

Results

Display CheckReg | Render.. ~| FMRI —

Toolboxes. ~ | Means.. — ImCalc HDR edit

Utils.. | | Defaults Quit





The SPM graphical user interface (shown above) is divided into three panels: the upper for spatial pre-processing of data, the middle for model specification/estimation and statistical inference, and the lower for general utilities (shown above for fMRI). 

Spatial pre-processing functions are: 

Realign: realignment of functional time-series

Coregister: Coregistration of same modality and multi-modality image volumes

Slice timing: Adjustment for timing differences in multi-slice image acquisition (fMRI)

Normalize: Spatial normalisation of image volumes to a template

Smooth: Convolution of image volume with a Gaussian kernel

Segment: Segmentation of MRI volume(s) into CSF, grey and white matter

Model specification & parameter estimation:

fMRI and PET/SPECT models: set-up of modality-specific models 

Basic models: basic statistical models for independent data

Explore design: review a previously specified model

Estimate: estimation of a previously specified model and configuration

Statistical inference: 

Results:  analysis and display of regional effects

The lower panel includes miscellaneous and general utility functions.

2. Spatial pre-processing

2.1 Realignment  (spm_realign_ui.m)

Realignment of an image time-series of the same modality.

[image: image3.png]Realign

Slice timing

Smooth

Coregister]

Normalize

Segment





Specify: 

[image: image4.png]number of subjects [T ]




Specify (for fMRI only): 

[image: image5.png]num sessions for subject 1





Select scans:

[image: image6.png]scans for subj 1, sessl
R =] pwd
[fhome 7dveltman/men_fMRI2/CPRICE /scans/scans /asc/ascl

SubDirectories, = | home

ilsr[ v | LAl Leaie| ¥eyba| Lhesst | [Bse

nrfMo1776_0%img
SnrfMO1776_0%img





Clicking the *.img will select those images, clicking the preceding number (in white) will show individual scans. SPM displays the total number of selected scans (lower part of window). 

Other options:

· Filter  disables filter 

· All selects all images shown

· Edit  allows editing of image file names

· Keybd allows command line input of image file names

· Reset will undo selection

· Done completes selection.

Specify:

[image: image7.png][which option?.

Coregister only
Reslice Only
* Coregister & Reslice




Coregister only: determines parameters used to realign to the first image in the selected series. For multiple sessions, the first scan of each session is realigned to the first scan of the first session; then the images within each session are realigned to the first scan of the session. Saves the transform parameters for each filename.img in filename.mat. Realignment parameters are saved for each session as realignment_params_*.txt, which can be used as a set of 6 covariates to regress out movement-related activations.

N.B. 

· The first image = the first selected image. This need not be the first acquired in time.

· For each realignment, the current *.mat files are used and updated.

· All output images are written to the same directory as the input images. The mean*.img is written to the directory containing the images for the first session.

· In PET, realignment is in two steps: all images are realigned to the first and a mean image is computed to which all images are realigned in a second pass.

Reslice only: reslices and saves images using the transforms specified by *.mat files. Transforms filename.img using filename.mat and saves as rfilename.img.

*Coregister & Reslice (*=default): above steps combined. Saves transform parameters for filename.img in filename.mat. Reslices and saves images as rfilename.img.

Specify:

[image: image8.png]Reslice interpolation method.

Trilinear Interpolation
* Sin Interpolation
Fourier space Interpolation




Trilinear interpolation: uses trilinear interpolation to resample images.

Sinc interpolation (default): uses a truncated (kernel is 9x9x9 voxels) sinc interpolation. Slower than trilinear but more accurate; recommended for fMRI time-series.

Fourier space interpolation: added option also found in other packages (AIR). Performs rigid body rotations as shears in Fourier space (Eddy et al. 1996, MRM 36, 923-931). For isotropic voxels only.

Specify: 


[image: image9.png][Erezte whare

All Images (1..n)
Images 2..n

* All Images + Mean Image
Mean Image Only




All images (1-n): reslices all images including the first which is untransformed (i.e., SPM duplicates the first and saves it as rfirstimage).

Images 2-n: reslices all images except the first (useful when the first image has a different modality).

All images + Mean Image (default): reslices all images and creates a mean of all resliced images, which is saved as meanfilename.img.

Mean Image only: creates mean image only.

N.B. 

· Because each reslicing slightly degrades the images, this may be postponed until the normalisation step.  It is useful, however, to create a mean image to determine parameters from at the normalisation stage (2.4) or to coregister to a structural MR (2.3). Select Coregister & Reslice, Trilinear or Sinc interpolation (trilinear is probably sufficient and much faster) and  Mean Image Only. The other images will have only their *.mat files updated. 

· If the ORIGIN coordinates in the image headers need adjustment, this should be done prior to realignment (because SPM will ignore the ORIGIN coordinates in the header once a *.mat file is created). Select the Display option (lower panel), select an image, and place the crosshair at the anterior commissure. Select HDRedit, select ‘set Origin’, and copy & paste the coordinates (in voxels) from the Graphics window.  Apply to all time-series images (see 5 for discussion of utilities). 

Specify (for fMRI only):

[image: image10.png]Adjust sampling errors?





This removes interpolation errors arising from reslicing of the data by doing a regularised fit for motion-related variance and removes estimated variance from resliced images. However, if there is any motion-related variance that is correlated with the task, this option may remove variance of interest (i.e. true positives). 

Output from spm_realign:

[image: image11.png]translation

mm

image
rotation

degrees
:





Display (shown here for a 12-scan PET study): spm_realign displays realignment parameters in graphic form. This display is written to the spm99.ps file in the working directory. This file can be viewed using a postscript reader package such as ghostview or pageview.

Files: the realigned images r*.img, r*.hdr,  and the updated .mat files are written to the input file directory. The mean*.img and mean*.hdr are written to the input file directory for the first session. Realignment parameters are saved as realignment_params_*.txt to the input file directory for each session.

Customisations for realignment (optional):

N.B. 

· Changes in default settings are valid only during one session. After quitting and restarting SPM, these adjustments need to be renewed.

From the ‘Defaults’ options (lower panel), select ‘Realignment’:

[image: image12.png]Defaults Area?.
Printing Options
Miscellaneous Defaults
Header Defaults — FMRI
Realignment
Coregistration
Spatial Normalisation
Statistics — FMRI
Reset All




Specify:

[image: image13.png]Coregistration and reslicing=

* Allow separate coregistration and resliing
Combine coregistration and reslicing




· allow separate coregistration and reslicing (default)

· always combine coregistration and reslicing

Specify:

[image: image14.png]Images to create?.

All Images + Mean Image
* Full options




· always create all images & mean image

· full options  (default, see above)

Specify:

[image: image15.png][FMRI adjustment for Interpolation?,

‘Always adjust
Never adjust
* Optional adjust




· always adjust for interpolation errors

· never adjust for interpolation errors (e.g., when realignment parameters are used as covariates)

· optional adjust (default)

Specify:

[image: image16.png][Option to mask images?.

* Always mask
Optional mask




· always mask images (=default): to avoid movement-related artefactual variance at the edge of the FOV 

· optional mask

Specify:

[image: image17.png]Registration Quality?.

Quality 1.00 (slowest/most accurate)
Quality 0.90
Quality 0.75
* Quality 0.50
Quality 0.25
Quality 0.10
Quality 0.05
Quality 0.01
Quality 0.005
Quality 0.001 (fastest/poorest)




which refers to the density of voxel sampling for computation of realignment parameters. The quality improves with higher density, which is also more time-consuming.

2.2 Coregistration (spm_coreg_ui.m)

Between and within modality image coregistration.
[image: image18.png]Realign

Slice iming

Smooth

Coregister]

Normalize

Segment





Specify: 

[image: image19.png]number of subjects [ ]




Specify:

[image: image20.png][which option?.

Coregister only
Reslice Only
* Coregister & Reslice




Coregister only: determines parameters used to coregister to one image to another. This option saves the transform parameters filename.img in filename.mat. 

Reslice only: reslices and saves images using the transforms specified by the *.mat files. Transforms filename.img using filename.mat and saves as rfilename.img.

*Coregister & Reslice (*=default): above steps combined. Saves transform parameters for filename.img in filename.mat. Reslices and saves images as rfilename.img.

FOR ‘Coregister only’ AND ‘Coregister & Reslice’:
Specify:

[image: image21.png]Modality of first target image?,

* target — PET
target — T1 MRI
target — T2 MRI
target — PD MRI
target — EPI
target — Transm
target — SPECT




Specify:

[image: image22.png]Wodality of first object image?.

object — PET
* object — T1 MRI
object — T2 MRI
object — PD MRI
object — EPI
object — Transm
object — SPECT




Select:

[image: image23.png]select target image for subject 1




Select:

[image: image24.png]select object image for subject 1




Select (or press ‘Done’):

[image: image25.png]select other images for subject 1




The TARGET image is the image to which the OBJECT image is realigned. OTHER images (if any) are transformed in the same way as the OBJECT image.

For example, to realign a structural T1-MRI to a fMRI time-series:

· TARGET : mean EPI

· OBJECT : T1

· OTHER : -

To realign a sequence of PET-images to a structural T1-MRI:

· TARGET: T1

· OBJECT: mean PET

· OTHER: PET1.img, PET2.img,….

N.B. 

· If the target and object images have different modalities, an image segmentation (see 2.6) is performed to partition target and object into CSF, white and grey matter. These partitions are then used in the coregistration.

FOR ‘Reslice Only’:

Select:

[image: image26.png]select image defining space for subject 1




The space of this image (i.e. the space defined by the .mat file associated with this image) will be used to reslice the object image.

Select:

[image: image27.png]select images to reslice 1




This image is the object image that will be resliced in the space of the previously selected image. The image will be resliced at the voxel size and origin of the previously selected image and will have the same space defined by the corresponding .mat file.

Output from spm_coregister:

[image: image28.png]Coregistration
028% ~1.938% 404927 +212.782

038% +0.493% +1.938" +68.358
1,333 0,012+ +0.029°Z +107.141

155 (dveltran: 22.00-11 — 071112000




Display: spm_coregister displays the coregistered images with the contours of the OBJECT image overlaid on both sets of images. This display is written to the spm99.ps file in the working directory. If OBJECT and TARGET image have different modalities, a segmentation is also carried out for both images. This is displayed as in spm_segment (see 2.6) and written to the spm99.ps file.

Files: the coregistered images rfilename.img and rfilename.hdr are written to the same directory as the input images if ‘reslice’ is specified.  The current rfilename.mat files are updated.

Customisations for coregistration (optional):

N.B. 

· Changes in default settings are valid only during one session. After quitting and restarting SPM, these adjustments need to be renewed.

From the ‘Defaults’ options (lower panel), select ‘coregistration’:

[image: image29.png]Defaults Area?.
Printing Options
Miscellaneous Defaults
Header Defaults — FMRI
Realignment
Coregistration
Spatial Normalisation
Statistics — FMRI
Reset All




Specify:

[image: image30.png]Use Mutual Information Reglstration?.

* Use Default Registration
Use Mutual Information Registration




· use default registration

· use mutual information registration (advisable when default between-modality coregistration doesn’t work due to e.g. poor grey/white contrast, so that the segmentation step fails)

Specify (for default between-modality coregistration only):

[image: image31.png]Do first coreg step only?.

* Do all three coreg steps
Do first coreg step only




· do all three coregistration steps (i.e., (1) 6-parameter (rigid body) normalisation of object and target image to a template of its own modality, (2) segmentation of object and target image, (3) coregistering the segmented images using the results of (1) as a starting point; =default)

· do first coreg step only (6-parameter normalisation of object and target image, each to a template of its own modality), e.g. when coregistering two images with poor grey/white contrast such as a PET transmission scan and a CT-scan, or as a first step prior to mutual information registration 

2.3 Slice timing (spm_slice_timing.m) 

Correction for differences in slice acquisition time. 

[image: image32.png]Realign

Slice iming

Smooth

Coregister]

Normalize

Segment





This is only for fMRI. Corrects for differences in acquisition time between slices during sequential imaging (as in echo-planar imaging). It is especially relevant for event-related designs. This routine performs a phase shift, resulting in each time series having the values that would have been obtained had the slice been acquired at (for example) the beginning of each TR.

N.B. 

· This step can be performed either before or after realignment (but before normalisation). Both procedures have potential disadvantages: 

· slice time correction before realignment may interpolate signals from different brain regions if there is significant head movement (which may be particularly problematic near the edge of the brain, where large signal differences occur across nearby voxels); 

· slice time correction after realignment however may shift voxels to adjacent slices (and hence different time points). 

· The latter problem is especially relevant for interleaved acquisitions, where the time difference between adjacent slices may be ½ TR. It is therefore recommended to perform slice time correction first for interleaved sequences. 

· The latter problem is less relevant to sequential (ascending/descending) acquisitions, where the time difference between adjacent slices is small, and so realignment may be better first for ascending/descending sequences, to allow for movement effects. 

Specify:

[image: image33.png]number of subjects/sessions |




Select:

[image: image34.png]Select images to acqui




Specify:

[image: image35.png]Select sequence type,

ascending (first slice=bottom)
descending (first slice—top)
interleaved (first slice—top)
user specified




ascending (first slice = bottom; e.g. 1 2 3 ………..68)

descending (first slice = top; e.g. 68 67 66 ……..1)

interleaved (first slice = top; e.g. 68 66 64 ……2 67 65 63….1)

user specified (e.g., other interleaved sequences; SPM will prompt for a vector specifying slice acquisition order, where the slices are numbered in Analyze format)

Specify:

[image: image36.png]Reference Slice (1=bottom)

34





SPM will suggest the middle slice (in space) as the default (in the example above: slice 34). This is particularly useful for ascending/descending sequences because the phase shift interpolation tends to become less accurate with increasing shifts, and slices further away from the middle slice tend to be of less interest. When the regions of interest do lie in extreme (top or bottom) slices however, the reference slice may be chosen to correspond to these regions, so that interpolation artefacts are minimised (the signal in the reference slice itself is unchanged by the interpolation).

N.B. 

· For fMRI analyses, SPM divides each TR into a number of time bins (by default this number=16). SPM by default then uses the first time bin as the reference or sampled bin. This bin provides the values from which the covariates are constructed. 
· When the first slice in time is NOT used as the reference slice during slice-timing correction, the default sampled bin (=1) must be adjusted prior to statistical analysis. 
· For example, if the middle slice was chosen as the reference slice for slice timing correction, the middle time bin must be set to the sampled time bin. If the number of time bins =16 for example, the sampled time bin should =8. 
· To change these settings, select Defaults, select ‘Statistics – fMRI’, set ‘Sampled bin’ to 8. This change must be made before creating the design matrix. 


Specify:

[image: image37.png]Interscan interval (TR) fsecst 4,162




Specify:

[image: image38.png]BBt e T e 111008




TR is defined as the time between the first slice of one scan and the first slice of the next scan; TA is the time between the first and the last slice within one scan. Without an interscan time delay, TA=TR-(TR/N), where N= number of slices (= default). When there is an interscan delay, TA must be adjusted.

N.B.  

· In this example, TR>4sec. Although slice timing correction is potentially more important for long TRs, interpolation also becomes less accurate. It is therefore advised to omit slice time correction for TR>3sec and model timing differences by including temporal derivatives as an additional regressor, or using a phase-invariant Fourier set (see 3.1).

Output from spm_slice_timing:

Files: afilename.hdr, afilename.img and afilename.mat files are written to the input file directory.

2.4 Normalisation  (spm_sn3d.m)

Three-dimensional spatial normalisation of PET, SPECT and (f)MRI images to a standard space.

[image: image39.png]Realign

Slice iming

Smooth

Coregister]

Normalize

Segment





Normalisation consists of two steps: first the determination of an optimum 12-parameter (translations, rotations, zooms & shears) affine transformation (from an image to a template), followed by a nonlinear estimation of deformations. These parameters can be used to reslice other images coregistered to the image from which the parameters were determined.

Select:

[image: image40.png]Which option?.

Determine Parameters Only
Write Normalised Only
* Determine Parameters & Write Normalised




Determine parameters only: determines parameters (linear and nonlinear) used to normalise image to a template. Saves normalisation parameters in filename_sn3d.mat. 

Write normalised only: reslices and saves images using normalisation parameters specified by the selected sn3d.mat file. Applies parameters to filename.img (*.hdr, *.mat) and saves as nfilename.img (n*.hdr, n*.mat).

Determine parameters and write normalised (=default): the above steps combined. Saves normalisation parameters for filename.img in filename_sn3d.mat. Saves normalised images as nfilename.img (n*.hdr, n*.mat).

N.B. 

· All output images, headers and *.mat files as well as the *_sn3d.mat file are written to the input directory.

· To assure optimal normalisation, image and template should be in a similar starting position. This can be tested with the Check Reg option in the lower panel. Use the Display option to reposition the image (see section 5).

Specify:

[image: image41.png]



Select:

[image: image42.png]subj 1 — Image to determine parameters




for example, a coregistered T1 structural image or a mean functional (PET or EPI) image.

Select:

[image: image43.png]subj 1 — Images to write normalised




Select:

[image: image44.png]Template image(s)




The selected template image which should be the same modality (and have very similar contrast) as the image from which the parameters are to be determined. 

N.B. 

· The space of the template images in SPM is based upon the Talairach system, but does  not  make  assumptions about  brain  symmetry, and includes the cerebellum. 

· The stereotactic space is based  on 152 brains  from  the Montréal Neurological  Institute,  and  will eventually be replaced in due course by a 450-brain version for the entire ICBM consortium (http://www.loni.ucla.edu/ICBM ).

· The 152 subject average brain was chosen rather than the MNI305 official standard brain because from the 152 subjects T2- and PD-weighted images were also available, allowing much more flexibility in the range of different MR contrasts that can be spatially  normalized  to the same stereotaxic space. See spm_templates.man for details.

· A combination of templates may be used when the image to determine parameters from is different (e.g., intensity with a new MRI sequence) from the templates provided by SPM. For other purposes, e.g. normalising PET-ligand scans, creating a user-specified template should be considered.

Specify:

[image: image45.png]Interpolation Method?.

Nearest Neighbour
* Bilinear Interpolation
Sinc Interpolation (9x9x9)




Nearest neighbour: fast but not very accurate and therefore not usually recommended.

Bilinear (=default): recommended for fMRI images which have been resliced at the realignment stage, and PET.

Sinc interpolation: uses a modified sinc interpolation (9x9x9 voxels kernel); slowest, recommended for fMRI data which have not been resliced at the realignment stage.

Output from spm_sn3d:

[image: image46.png]Spatial Normalisation

Image : /home/dveltman/men_fMRI2/temp/sM01742_0002.img
Parameters : /home/dveltman,/men_fMRI2/temp/sM01742_0002_sn3d

Linear affineZ component — image flipped
X1'=-1.014%X +0.031%Y ~0.027%Z ~2.390
011% +1.013% +0.301%Z ~18.126
0.018"% ~0.336*Y +1.162%Z ~22.571

<

12 nonlinear iterations
7x%8x7 basis functions

S99 (dvelrmn): 19:39:49 — 06/11,2000




Display: spm_sn3d displays the normalised image and the template. The display is written to the spm99.ps file in the working directory.

Files: the normalisation parameters filename_sn3d.mat are written to the same directory as the input image(s). The normalised images nfilename.img (n*.hdr, n*.mat) are written to the input directory if ‘write normalised’ is specified.

Customisations for normalisation (optional):

N.B. 

· Changes in default settings are valid only during one session. After quitting and restarting SPM, these adjustments need to be renewed.

From the ‘Defaults’ options (lower panel), select ‘Spatial Normalisation’:

[image: image47.png]Defaults Area?.
Printing Options
Miscellaneous Defaults
Header Defaults — FMRI
Realignment
Coregistration
Spatial Normalisation
Statistics — FMRI
Reset All




Specify:

[image: image48.png]Defaults for..?.

Defaults for Parameter Estimation
Defaults for Writing Normalized




· Defaults for Parameter Estimation (first step)

· Defaults for Writing Normalised (second step)

For changing Parameter Estimation defaults, specify:

[image: image49.png]Affine Starting Estimates?.
Neurological Convention R is R)

* Radiological Convention (L is R)
Custom Affine Starting Estimates




· Neurological Convention (R=R): SPM assumes that the images are in neurological convention (as used by SPM) so the starting estimates won’t include a L-R flip (0 0 0 0 0 0 1 1 1 0 0 0)

· Radiological Convention (L=R; default): SPM assumes that the images are in radiological convention so the starting estimates will include a L-R flip (0 0 0 0 0 0 -1 1 1 0 0 0)

· Custom Starting Estimates: 

[image: image50.png][12] Enter Affine Starting 000000111000




enter these in the following order:


x translation (mm)


y translation (mm)


z translation (mm)


x rotation ‘pitch’ (radians)


y rotation ‘roll’ (radians)


z rotation ‘yaw’ (radians)


x scaling


y scaling


z scaling


x shear


y shear


z shear

N.B. 

· As an alternative to customising starting estimates, prior to normalisation the images may be repositioned using the Display option (see above). 

Specify:

[image: image51.png]Allow customised normalisation?,

Allow customised
* Disallow Customised




· Allow customised (options for ( nonlinear basis functions and iterations, type of regularisation, and masking)

· Disallow customised normalisation (=default; standard options for ( nonlinear basis functions and iterations, type of regularisation, and masking)

If customised is selected, specify:

[image: image52.png][# Nonlinear Basis Functions®.

none
2x2x2
2x3x2
3x3x3
3x4x3
4xAx4
4x5%x4
5X55
5X6x5
6x6x6
6x7%x6
7X7X7
* 7XBX7
8xBXE




The default is 7x8x7 functions. A large number of functions will improve the quality of the normalisation provided the images do not contain gross lesions and/or have different contrasts compared to the template. More functions will be computationally slower, however.

Specify:

[image: image53.png][# Nonlinear Iterations®.

nonlinear iteration
nonlinear iterations
nonlinear iterations
nonlinear iterations
* 12 nonlinear iterations
16 nonlinear iterations

oW




The default is 12 iterations. Again, the more iterations the better the result, but memory demands will similarly increase.

Specify:

[image: image54.png]Nonlinear Regularization.

Extremely Heavy regularization
Heavy regularization

* Medium regularization
Light regularization
Very Light regularization




Regularisation involves stabilising the estimation of the deformations by penalising large deformations. Heavy regularisation basically means that more weight is applied to the penalty term. Therefore, if the spatial normalisation introduces excessive warping that is clearly wrong, more regularisation is needed. Conversely, if the images do not get warped enough to match the template, the amount of regularisation needs to be decreased. The default is medium regularisation.

Specify:

[image: image55.png]Wask brain when registering?.

No Brain Mask
* Default Brain Mask
Specified Brain Mask




Masks template brain (1 1 1 1 .. for voxels within the brain, 0 0 0 0 .. for voxels outside the brain) in order to perform normalisation based on the shape of the brain instead of the skull. Not necessary when normalising a mean EPI image to the EPI template, in which case unmasked normalisation may give better results.

Specify:

[image: image56.png]Wask object brain when registering?.

Mask object
* Dont Mask object




Similarly using 1 1 1 1 .. for voxels within the brain, 0 0 0 0 .. for voxels outside the brain. An object brain mask might be used e.g. to prevent an abnormal region (lesion) influencing the normalisation.

For changing Writing Normalised defaults, specify:

[image: image57.png][Bounding Box?

* —78:78-112:76 —50:85 (Default)

:91 ~126:01 —72:109 (Template)
5 ~112:76 —50:95

Customise

Runtime option





In mm distances (x y z) from the anterior commissure. When choosing ‘Runtime option’, SPM will prompt for bounding box dimensions during specification of the normalisation.

Specify:

[image: image58.png]Voxel Sizes>.

1

51515

N W oo
N W o

2
3
2
2
4
Customise
Runtime option




In mm (x y z):

· 1 1 1

· 1.5 1.5 1.5

· 2 2 2 (=default; may lead to oversampling of the data; the advantage is that the data will require less smoothing to meet the assumptions of Gaussian field theory, disadvantage is that resulting *.img files will use more disk space)

· 3 3 3

· 4 4 4

· 1 1 2 (e.g., for structural MRI’s with 1mm interslice gap)

· 2 2 4 (e.g., for EPI images with 2mm in-plane resolution and 2mm interslice gap)

· Customise

· Runtime option (i.e., SPM will prompt for voxel sizes during specification of the normalisation)

2.5 Smooth (spm_smooth.m)

Three-dimensional convolution of an image with a Gaussian kernel.

[image: image59.png]Realign Slice iming Smooth

Coregister] Normalize Segment





Specify:

[image: image60.png]smoothing {FWHM in mm3




Gaussian filter width. This can be a scalar (for isotropic voxels) or a vector of length 3 (sx sy sz) for anisotropic voxels. Suggested is 2-3 times the voxel size.

Select:

[image: image61.png]select scans




N.B. 

Spatial smoothing has three important objectives:

· it increases signal to noise ratio

· it conditions the data so that they conform more closely to a Gaussian field model. This is important if Gaussian field theory is used to make statistical inferences about regionally specific effects (i.e., assign p-values)

· it ensures that effects between different subjects are assessed on a reasonable spatial scale with respect to functional anatomy.

See also Matthew Brett's basic tutorial on smoothing at:  

http://www.mrc-cbu.cam.ac.uk/Imaging/smoothing.html 

Output from spm_smooth:

Images are saved as sfilename.img (s*.hdr, s*.mat) in the same directory as the input files. 

2.6 Segment (spm_segment.m)

Segments MRI-image(s) into grey and white matter, CSF, and other.

[image: image62.png]Realign

Slice iming

Smooth

Coregister]

Normalize

Segment





Specify:

[image: image63.png]number of subjects





Select:

[image: image64.png]Select MRI(s) for subject 1




if more than one, they should be coregistered. 

Specify:

[image: image65.png]#re they spatially normalised?




If not, specify:

[image: image66.png]Modality of first image?.

* modality — T1 MRI
modality — T2 MRI
modality — PD MRI
modality — EPI MR
—other—




to match with a template which will be used for affine normalisation of the image(s). This is required for probabilistic segmentation.

Specify:

[image: image67.png]Attempt to correct intensity inhomogeneities?.
* No inhomogeneity correction

Alittle inhomogeneity correction

Lots of inhomogeneity correction




this option attempts to model intensity inhomogeneities using smooth basis functions. 

If inhomogeneity correction is to be applied, specify:

[image: image68.png]Save inhomogeneity corrected images 2.

* Don’t save corrected images
Save inhomogeneity corrected images




Inhomogeneity-corrected images may be saved as corr_filename.img for inspection.

Output from spm_segment.m:

[image: image69.png]Segmentation
Image: /home/dveltman/men_fMRI2/temp/sM01742_000;

Means: 90.4381 110.3204 57.1711
Std devs: 8.7887 6.3055 15.9038
N vox: 0.17925 0.11084 0.059406





Display: spm_segment displays the segmentation results. This display is written to the spm.ps file in the working directory. N vox is the proportion of voxels belonging to each class, worked out from a subregion of the volume that encloses the brain. 


Files: the segmented images are written as filename_seg1.img, filename_seg2.img,  and filename_seg3.img for grey and white matter, and CSF. These images are saved to the input directory.

3. Model specification & parameter estimation
[image: image70.png]PET/SPECT models

Basic models

Explore design

Estimate

Results





This section deals with the specification of a model to analyse imaging data, and subsequent parameter estimation. Statistical inference is performed using the Results option (see 4). SPM distinguishes three classes of models:

· For modality-specific, independent data (PET/SPECT models; 3.1).

· For modality-specific, serially correlated data (fMRI models, 3.2).

· Basic models for independent data, which include random effects (RFX) analyses (3.3).

3.1 PET/SPECT models (spm_spm_ui.m)
SPM offers a number of PET/SPECT prototype models, which limits the number of necessary specifications for easy use. 

N.B. 

· All data entered in the model need to be in the same position (i.e., coregistered), and have identical dimensions and voxel sizes.

[image: image71.png]Select design type.
Single-subject: conditions & covariates
Single-subject: covariates only
Multi-subj: conditions & covariates
subj: cond x subj interaction & covariates
Multi-subj: covariates only
Multi-group: conditions & covariates
Multi-group: covariates only
Population main effect: 2 cond’s, 1 scan/cond (paired
t-test)
Dodgy population main effect: >2 cond’s, 1 scan/cond
Compare—populations: 1 scan/subject (two sample
t-test)





· Single-subject, conditions & covariates: e.g. analysis of an individual subject, 12 scans (ARARARARARAR), with habituation (time) as a covariate. See example 1 below

· Single-subject, covariates only: e.g., analysis of an individual subject, 12 scans during which a task is performed, with covariate = task score (this example is discussed in Matthew Brett’s tutorial on SPM statistics; see http://www.mrc-cbu.cam.ac.uk/Imaging/spmstats.html )

· Multi-subject, conditions & covariates: e.g., a study with 10 subjects, each performing a task with three levels of difficulty, with reaction time as a covariate (i.e, a condition x covariate interaction)

· Multi-subject, condition x subject interaction & covariates: conditions are modelled separately for each subject, which allows assessment of condition x subject interactions. See example 2 below

· Multi-subject, covariates only: e.g., a study with 6 spider phobic patients shown slides of spiders during each of 12 scans, with anxiety ratings as a covariate

· Multi-group: conditions & covariates: e.g., a factorial design with two groups of subjects both performing an ARARARARARAR experiment. This design allows assessment of main effects (task vs. rest) for each group separately and both groups combined, as well as task x group interaction effects 

· Multi-group, covariates only: e.g., the ‘Multi-subject, covariates only’ spider study with a group of non-phobic controls added

· Population main effect: 2 conditions, 1 scan/condition (= modality-adjusted paired t-test), e.g., a PET or SPECT study using a dopaminergic ligand in subjects with Parkinson’s disease scanned both pre- and post-therapy 

· Dodgy population main effect: > 2 conditions, 1 scan/condition; ‘dodgy’ because sphericity assumptions are likely to be violated (see example 1 below)

· Compare-populations: 1 condition, 1 scan/condition (=modality-adjusted two-sample t-test), e.g., a PET or SPECT  ligand study comparing patients to normal controls

· Compare-populations (AnCova): 1 condition, 1 scan/condition, with nuisance variable(s) added, e.g. the preceding study with age entered  as a possible confound

· The Full Monty: ‘asks you everything’; an amalgam of ‘Multi-subject, cond x subj interaction & covariates’ and ‘Multi-group’ options

Example 1: single-subject: conditions & covariates

Select:

[image: image72.png]select images




Specify a vector whose length equals the number of scans, e.g. 1 2 1 2 1 2 1 2 1 2 1 2:

[image: image73.png][12] condition?




Specify:

[image: image74.png]# covariates o




If a covariate is modelled, specify a vector whose length also equals the number of scans:

[image: image75.png]



Specify (e.g., time):

[image: image76.png]covariate name?




Specify:

[image: image77.png]covarlate: interaction?.
* <none>

with condition





‘none’ will model the covariate (=time) as one parameter (time x session) or column in the design matrix (see below); ‘with condition’ as two (time x cond1 and time x cond2). 

Specify:

[image: image78.png]covarlate: centre?.
* around overall mean

around condition means
<no centering>





Centring a covariate ensures that main effects of the interacting factor are not affected by the covariate, therefore SPM suggests centring on the overall mean. If ‘interaction by condition’ had been specified, the default becomes ‘centring around condition means’.

Specify:

[image: image79.png]# nuisance variables o




(=0 in this example; otherwise, specification of nuisance variables is similar to covariates). 

Specify:

[image: image80.png]GloNorm: Select global normalisation.
AnCova

proportional scaling

<no global normalisation>>




Scan to scan differences in global flow can be:

· modelled as a nuisance variable (AnCova), 

· adjusted for by scaling the voxel values for each scan to the mean (proportional scaling)

· ignored.

AnCova is advised for multi-subject studies unless differences in global flow are large (e.g., due to variability in injected tracer dose). Because AnCova also uses one degree of freedom for each subject/group, proportional scaling may be preferable for single-subject studies.

If proportional scaling is selected, specify:

[image: image81.png]PropSca global mean to 50




the default of which scales the global flow to a physiologically realistic value of 50 ml/dl/min.

Specify:

[image: image82.png]Threshold masking  apsolute prop'nal




to ensure that only grey-matter voxels are included in the analysis, by masking out from all scans voxels that fail to reach the specified threshold. 

If ‘proportional’ is selected, specify:

[image: image83.png]analysis thresh (prop'n of global) 0.8




the default being 80% of the mean global  value. If thresholding is to be omitted, specify ‘-Inf’.

Specify:

[image: image84.png]Global calculation.

user specified
* mean voxel value (within per image fullmean/8 mask)




The default is a two-step process in which first the overall mean is computed, after which voxels which do not reach a threshold of overall mean/8 (i.e., those which are extra-cranial) get masked out, followed by a second computation of the mean of the remaining voxels. 

Specify:

[image: image85.png]non-sphericity correction?

ves

no




Sphericity assumes equal variance and independency of measures across replications, condition types, and/or subjects. If this assumption is not met, without a correction statistical inference might produce biased (i.e., inflated) results. If a correction is to be applied, SPM will prompt to specify violations.

Output from PET/SPECT models (spm_spm_ui) for example 1:

[image: image86.png]images

Statistical analysis: Design

cond.
cond,

/home/dveliman/PET/snrs01026 11 img

home/dveliman/PET/snrs01026.12 img

/home/dveliman/PET/snrs01026.13 img

/home/dveliman/PET/snrs01026 14 img

/home/dveliman/PET/snrs01026.r5 img

/home/dveliman/PET/snrs01026 6 img

/home/dveliman/PET/snrs01026.17 img

/home/dveliman/PET/snrs01026.13.mg

/home/dveliman/PET/snrs01026.19.img

dvehman/PET/snrs01026.10.img

dvehman/PET/5nrs01026.111img

dvehman/PET/snrs01026.112 img

parameters

] FEEEEE] evets

parameter estimability

Design description..

esign

D Singlesubect; conditions & covariatos
Global calculation

mean voxel vaiug (within per image fullmean/8 masK)
Grand mean scaling : (implicit in Propsca global normalisation)
Glabal normal propertional scaling to 50
Parameters : 2 condition, +1 covariate, +1 block +0 nuisance
4 fotal, having 3 dearsss of freedom
leaving 9 tegrees of freadom from 12 images





Display: SPM displays a design matrix having columns for each parameter (in this example, two conditions, one covariate, and one constant (block)) and a row for each scan. The grey-and-white bar below the design matrix signals that the matrix is rank deficient (columns 1,2 and 4 are linearly dependent) which limits selection of meaningful contrasts (parameter weights) for condition effects to those which sum up to zero (see 4). 

File: the design matrix will be saved as SPMcfg.mat in the working directory.

Specify:

[image: image87.png]estimate? now Iater




to begin parameter estimation now or at a later stage. If ‘later’, select ‘Estimate’ (middle panel) and select the appropriate SPMcfg.mat file. 

Example 2: Multi-subject, cond x subj interaction & covariates.

Consider a study in which five subjects perform an attention task with two stimulus types alternated with rest (ABRABRABRABR, suitably randomised across subjects) where individual differences in arousal (measured as skin conductance (GSR)) may interact with performance.

Specify (5):

[image: image88.png]#subjects 1] 2




Select:

[image: image89.png]subject 1: select images




Specify (for each subject) a vector whose length equals the number of scans, e.g. A B R R A B B R A A R B:

[image: image90.png][12] condition?




Specify (1):

[image: image91.png]# covariates o




Specify a vector whose length equals the total number of scans:

[image: image92.png]



Specify (GSR):

[image: image93.png]covariate name?




Specify (with subject):

[image: image94.png]covarlate: Interaction?.
<none>

with condition
* with subject





‘none’ will model the covariate (=GSR) as one parameter (GSR x session) or column in the design matrix (see below); ‘with condition’ as three (GSR x cond1-3) and ‘with subject ’ as five (GSR x subj1-5). 

Specify:

[image: image95.png]covarate: centre?
around overall mean
around condition means

*around subject means
<no centering>




Centring a covariate ensures that main effects of the interacting factor are not affected by the covariate, therefore SPM here suggests centring on subject means.

Specify (0):

[image: image96.png]# nuisance variables o




Select:

[image: image97.png]GloNorm: Select global normalisation.
AnCova by subject
proportional scaling
<no global normalisation>>




Scan to scan differences in global flow can be: 

· modelled as a nuisance variable (AnCova), 

· adjusted for by scaling the voxel values for each scan to the mean (proportional scaling)

· ignored.

AnCova is advised for multi-subject studies unless differences in global flow are large (e.g., due to variability in injected tracer dose). Because AnCova also uses one degree of freedom for each subject/group, proportional scaling may be preferable for single-subject studies.

If AnCova is selected, specify:

[image: image98.png]GMsca: grand mean scaling.
* saaling of subject grand means

<no grand Mean scaling>





the default corrects for subject to subject differences in mean global flow (within-subject differences were modelled during the previous step).

Specify (50):

[image: image99.png]scale subject grand means to 50




the default of which scales the global flow to a physiologically realistic value of 50 ml/dl/min.

As in example 1, specify:

[image: image100.png]Threshold masking  apsolute prop'nal




to ensure that only grey-matter voxels are included in the analysis, by masking out voxels which fail to reach the specified threshold. 

If ‘proportional’ is selected, specify:

[image: image101.png]analysis thresh (prop'n of global) 0.8




the default being 80% of the mean global  value. If thresholding is to be omitted, specify ‘-Inf’.

Specify:

[image: image102.png]Global calculation.

user specified
* mean voxel value (within per image fullmean/8 mask)




the default is a two-step process in which first the overall mean is computed, after which voxels which do not reach a threshold of overall mean/8 (i.e. extracranial voxels) get masked out, followed by a second computation of the mean of the remaining voxels. 

Specify:

[image: image103.png]non-sphericity correction?

ves

no




Sphericity assumes equal variance and independency of measures across replications, condition types, and/or subjects. If this assumption is not met, without a correction statistical inference might produce unrealistic (i.e., inflated) results. If a correction is to be applied, SPM will prompt to specify violations.

Output from PET/SPECT models (spm_spm_ui) for example 2:

[image: image104.png]images

Statistical analysis: Design

JPET/RHYMES/temp/snrs01 042 r1.img
JPET/RHYMES/tem p/snrs01 042 r3.img
JPET/RHYMES/tem p/snrs01 042 r5.img
JPET/RHYMES/temp/snrs01 042 17 img
JPET/RHYMES/tem p/snrs01 042 19.img
JRHYMESftemp/snrs01 042 112.img

JPET/RHYMES/temp/snrs01026.r1.img
JPET/RHYMES/temp/snrs01 026 13 img
JPET/RHYMES/tem p/snrs01026.15.img
JPET/RHYMES/tem p/snrs01 02617 img
JPET/RHYMES/tem p/snrs01 026.19.img
RHYMES ftemp/snrs01 026,11 1 img

JPET/RHYMES/temp/snrs01 02911 img
JPET/RHYMES/tem p/snrs01029._r3.img
JPET/RHYMES/temp/snrs01 029.16.img
JPET/RHYMES/tem p/snrs01 029._rS.img
JRHYMESftemp/snrs01020.r10.ima

JRHYMES ftemp/snrs01 020 112 img

JPET/RHYMES/temp/snrs01035r1.img
JPET/RHYMES/tem p/snrs01 035 r3.img
JPET/RHYMES/tem p/snrs01 035 r5.img
JPET/RHYMES/temp/snrs01 03517 img
JPET/RHYMES/temp/snrs01 035 _19.img
JRHYMESftemp/snrs01035 111 img

JPET/RHYMES/temp/snrs01 03811 img
JPET/RHYMES/temp/snrs01038._r3.img
PET/RHYMES/temp/snrs01 03815 img
JPET/RHYMES/tem p/snrs01 03817 img
JPET/RHYMES/tem p/snrs01038._19.img

JRHYMESftemp/s1rs01038._r12.img

parameters

gy not uniquely specified)

parameter estimability

Design description..

Multi=subj cond  subj. interaction & covariates
mean vosel valle (w ithin ber mage fullMmean/s mask)
seefing of Subject rand moans to

AnCova by subject

8 onitlon, 45 covariate, +5 block +5 nuisance

30 fotai, having 25 degress of fresdont

feaving 35 tegrees of feedom from B0 images

Design
Global calculation
Grand mean scaling
Global normalisation
Parameters





Display: SPM displays a design matrix having columns for each parameter (in this example, fifteen conditions (three conditions, modelled separately for each subject), one covariate (GSR for each subject), five constants (block) and five nuisance variables (GBF)), and a row for each scan. The grey-and-white bar below the design matrix signals that the matrix is rank deficient (columns 1-15 and 21-25 are linearly dependent) which limits selection of meaningful contrasts (parameter weights) for condition effects to those which sum up to zero (see 4).

File: the design matrix will be saved as SPMcfg.mat in the working directory.

As in example 1, specify:

[image: image105.png]estimate? now Iater




to begin parameter estimation now or at a later stage. If ‘later’, select ‘Estimate’ (middle panel) and select the appropriate SPMcfg.mat file. 

N.B. 

· Model estimation may also be launched via the ‘Explore design’ option. SPM will then prompt you to select a SPMcfg.mat file for inspection. 

· Clicking ‘Design’ (lower left window) will activate a pull-down menu which allows selection of displays for the design matrix, details of design orthogonality (surfable), selected scans and specified conditions, and covariates. It does not provide options to edit the model.

Output from PET/SPECT parameter estimation (spm_spm.m):

· beta_0001.img/hdr, beta_0002.img/hdr, beta_0003.img/hdr, ….. : images containing parameter estimates for each column in the design matrix 
· mask.hdr/img : mask image consisting of  0’s and 1’s indicating which voxels within the image volume are to be assessed
· ResMS.hdr/img : image of estimated residual variance 
· RPV.hdr/img : image of estimated resels per voxel
· SPM.mat file : contains details of design matrix, analysed images, search volume, smoothness estimates and results files.
· xCon.mat file : contains default F-contrast (so-called ‘effects of interest’) which are used for selecting ‘interesting’ voxels at which to save raw data for future plotting
· Y.mad file : contains (in compressed form) the raw (unsmoothed) data at voxels with an F-statistic higher than the default. Each column corresponds to one voxel, each row to an input image 
· Yidx.mat file : contains a 1 x N vector of column indices used in the Y.mad file (where N = number of available voxels)
3.2 fMRI models (spm_fmri_spm_ui.m)

3.2.1 Specification of a model – first step:

Select ‘specify a model’:

[image: image106.png]Wwhat would you like to do?.
specify a model
review a specified model
estimate a specified model
specify and estimate a model




As with PET/SPECT, SPM’99 allows separate model specification & inspection, and parameter estimation, for fMRI designs. However, fMRI model building is more flexible, the main distinction being between epoch- and event-related designs. 

N.B. 

· Whereas model specification & parameter estimation occurs in two stages for PET/SPECT studies, for fMRI there are three: 

(i) specification of conditions, timings, user-specified covariates, and regressor types (e.g. boxcar),

(ii) selecting scans, modelling nuisance variables and other confounds, i.e. low-frequency drifts and temporal autocorrelation,

(iii) parameter estimation. This permits the use of a single design matrix (i.e., the first step) for different data sets (sessions/subjects) acquired with the same paradigm, and also for designing an experiment (stochastic designs, see below). In SPM, the first step is termed ‘specify a model’, the second and third ‘estimate a specified model’.

· In the ‘specify and estimate a model’ option, the order of the prompts is slightly different; moreover, SPM does not display graphs of the specified regressor(s) and design orthogonality (these can be displayed using the ‘review a specified model’ option and selecting the appropriate SPM_fMRIDesMtx.mat file). 

Specify:

[image: image107.png]spm_fMRI_design: Basic parameters...

mesenieralies




N.B. 

· As with PET/SPECT, all data entered in the model need to be in the same position (i.e., coregistered), and have identical dimensions and voxel sizes. 

· In addition, the TR must be identical.

Specify:

[image: image108.png]scans per session e.g. 64 64 64




Here SPM does not distinguish between sessions and subjects: e.g., for a design with 4 subjects each having two sessions of 96 scans, enter 96 96 96 96 96 96 96 96.

When more than one session is entered, specify:

[image: image109.png]are conditions replicated

yes

no




If ‘no’, SPM will prompt for the number (and names) of conditions / trials for each session. If ‘yes’, specify:

[image: image110.png]are timing/parameters the same

ves

no




If ‘no’ (as will be usually the case, i.e. when replications are randomised across sessions), SPM will prompt for onset times/trial lengths for each session. 

Specify:

 [image: image111.png]number of conditions or trials o




for all sessions combined when conditions are replicated, or otherwise for each session separately.

Specify:

[image: image112.png]name for condition/trial 17 trial 1




for each condition.

Specify:

[image: image113.png]stochastic design

ves

no




This option allows building an (event-related) experiment rather than analysing one. If ‘yes’, SPM will prompt to specify:

(i) Whether to include a null event,

(ii) Whether there is a fixed time delay between consecutive events of the same type (SOA, see below), 

(iii) The relative frequency of event types (e.g., 1/1),

(iv) Whether this frequency should be stationary or modulated across the experiment. 

The resulting design matrix can be used for both conducting and analysing an experiment. Otherwise, select ‘no’. 

Specify:

[image: image114.png]soA Fixed Variable




if ‘fixed’, specify:

[image: image115.png]SOA (scans) for trial 1




SOA = stimulus onset asynchrony = time (in scans) between the onset of two consecutive appearances of the same condition/trial type. This must be entered for each trial/condition.
Specify:

[image: image116.png]time to 1t trial (scans)




for each trial/condition. For example, if the1st trial occurs at the beginning of the first scan, enter 0, if it occurs halfway through the 3rd scan, enter 2.5.
If  SOA = ‘variable’, specify:

[image: image117.png]vector of onsets (scans) — trial 1




again for each trial/condition. Enter the onset in scans for each occurrence of the trial. The length of this vector should equal the number of times the trial occurs (replications).
Next, specify:

[image: image118.png]variable durations

ves

no




and if yes, specify trial durations for each replication:

[image: image119.png][4] durations (scans)




Again, the length of this vector should equal the number of trials (4 in this example).

N.B. 

· SOA = stimulus onset asynchrony = time (in scans) between the onset of two consecutive appearances of the same condition/trial type. As an example, consider a time series of 96 scans with conditions A, B, and R, each block lasting 8 scans; if the scanning order is ABRABRABRABR, SOA = fixed (24 scans), onset time = 0/8/16 for A/B/R. If the scanning order is randomised to ABRRBABARRAB, SOA = variable, vector of onsets = 0 40 56 80/8 32 48 88/16 24 64 72 for A/B/R. 

· If block lengths within a condition are different, it should be analysed as an event-related design (see below). Alternatively, it can be specified as an epoch design with separate conditions for each block length. For example, consider a simple ARAR… study in which condition A alternately lasts 7 or 8 scans; this can be modelled as A1RA2R… where A1 = 7-scan activation blocks, and A2 = 8-scan activation blocks.

· In these examples, a resting condition is included for clarity. A resting condition (baseline) need not be explicitly modelled in SPM, however.

Specify:

[image: image120.png]parametric modulation  none  time  other




This option allows modelling changes over replications of conditions/trials across session. 

If ‘time’ or ‘other’, select:

[image: image121.png]expansion inear exponen  polynom




to model linear, exponential, or polynomial changes. (When choosing ‘polynomial’, SPM will prompt for the order of the polynomial, the default being 2 generating a polynomial with linear + squared components). 

Next, specify condition or trial numbers in which a parametric term should be included (e.g. for 2 trials, select 1, 2 or both):

[image: image122.png]which trialls] 1 to 2




If ‘other’, SPM will also prompt for a vector whose length is equal to the number of replications (e.g., 10): 


[image: image123.png][10] parameters for trial 1




For two or more condition/trial types, specify:

[image: image124.png]e these wlal  cvents epochs  mived




For each condition, trials should be either events or epochs. If mixed, SPM prompts to specify ‘events’ or ‘epochs’ for each condition separately. If there is only one condition, SPM will also prompt to specify ‘events’ or ‘epochs’.

For an epoch design, select:

[image: image125.png]Select type of response.
basis functions (Discrete Cosine Set)
basis functions (Mean & exponential decay)
fixed response (Half~sine)
fixed response (Box-car)




i.e., a function or set of functions which, convolved with the timings specified earlier, provides the most adequate modelling of the data. Basis functions are more flexible than fixed response models but their components usually cannot be interpreted in a physiologically meaningful way; therefore multivariate or F-contrasts are required for statistical inference (see 4). A discrete cosine set may be useful when a steady-state response does not occur; SPM will prompt for the number of functions (default = 2). Similarly, mean & exponential decay may be chosen when the response decreases over time within an epoch (as opposed to across replications, see above).

Next, select:

[image: image126.png]convolve with hrf

ves

no




Convolving with the canonical hemodynamic response function (hrf) will add a delayed onset, early peak, and late undershoot to the model.

Select:

[image: image127.png]add temporal derivatives

ves

no




if yes, the partial derivative of e.g. the boxcar function with respect to time is added as an additional regressor, which will enable modelling of slight onset differences.

Finally, specify for each condition modelled as epochs:

[image: image128.png]epoch length fscans} for trial 1




For an event-related design, select:

[image: image129.png]select basis set,

hif (alone)

hrf @with time derivative)

hrf @with time and dispersion derivatives)

basis functions (Fourier sety

basis functions (Fourier set with Hanning)

basis functions (Gamma functions)

basis functions (Gamma functions with derivatives)
basis functions (Finite Impulse Response)




· hrf (alone): canonical hemodynamic response function; based on empirical (visual stimulation) data; consists of two gamma functions (one  positive, one negative) shifted 2s apart.

· hrf (with time derivative): hrf with partial derivative for time added; allows modelling of slight (ca. 1s) onset differences.

· hrf (with time and dispersion derivatives): hrf with partial derivatives for time and dispersion added; allows modelling of slight onset differences in onset time and response width.

· basis functions (Fourier set): uses a set of sines/cosines to model responses. The default window length is 32s (at which time the canonical hrf has returned to baseline), the default number of functions is 4, resulting in 9 basis functions: sines/cosines with frequency 1/32, 2/32, 3/32 and 4/32 Hz, and a constant. The number of functions should be chosen with regard to the TR, as it is doubtful whether one should include components higher than the Nyquist frequency (i.e., 1/(2TR) Hz). 

· basis functions (Fourier set with Hanning): similar to the previous option but with an amplitude modulation (Hanning filter) added so that all functions start and end at zero.

· basis functions (Gamma functions): uses three gamma functions (which are asymmetrical) with different onset-to-peak times and orthogonalised with respect to each other.

· basis functions (Gamma functions with derivatives): similar to the previous option but with temporal derivatives for each function added.

· basis functions (Finite Impulse Response): uses a set of ‘mini-boxcars’ to model peri-stimulus time. The default bin size (= ‘boxcar length’) is 2s, the default number of bins is 8, giving 9 functions (1 constant).

N.B. 

· As with epoch designs, basis functions are more flexible (no prior assumptions regarding the shape of the response, especially the Fourier and FIR sets) but their components cannot be interpreted in a physiologically meaningful way and therefore usually need F-contrasts for inference.  

· When T-contrasts are required (e.g., for a second-level analysis, see 3.3 and 4), hrf with or without time and dispersion derivatives should be chosen.

For both epoch and event-related designs, specify:

[image: image130.png]spm_fMRI_design: Design matrix options.

interactions among trials (Volterra) yes

no




This option allows modelling (regressing out) of non-linearities due to the interaction of successive trials of the same type (for example, repetition suppression (priming)). Use also when the time between successive events is 2s or less.
Specify:

[image: image131.png]Session 1/1: Other regressors.

user specified regressors o 1 2 3 4




to model any other covariates (i.e., other than modulation across replications (e.g., time) or within a block (=mean and exponential decay, see  above)). SPM will prompt for a vector whose length equals the number of scans (e.g., 64):

[image: image132.png][64] regressor 1




Output from fMRI model specification (spm_fmri_spm_ui.m) –  first step:

[image: image133.png]scan

1

regressorls]

Session 1

Design Matrix variable SOA

B Snv trial 1) design orthogonality
a0

0 Sn(1) trial 12)

80

Sn(1) trial 13)
00
20406080100
Regressors for trial 1 Frequency domain

El

2 0.05

1 Zooa

o ; 0,03
- 2002
=2 0.01
-2

20 40 60 80 100 0.05 0.1 015
scan Frequency (Ha)

Basis set and peristimulus sampling
hrf Gwith time and dispersion derivatives)

o 10 20 30
(no cached data to surf)




Display: shown for an event-related design, 112 scans, one event type, modelled using a canonical hrf with time and dispersion derivatives. There are six panels:

· upper left: shows the columns in the design matrix, one for each regressor, one constant (block). This matrix is surfable: R-clicking will show parameter names, L-clicking will show design matrix values for each scan 

· upper middle: shows the ‘columns’ of the previous graph (except for the constant) after a 90( rotation, giving a ‘bar graph’ showing positive (light grey –white) and negative (dark grey – black) values across session for regressor(s) used

· upper right: graph of design orthogonality: white = orthogonal, black = collinear, grey = between orthogonal and collinear. This matrix is also surfable: L-clicking will give the value of the cosine of the angle between two parameters (0 = orthogonal, 1 = collinear)

· middle left: shows a more detailed graph of each regressor across session (cf. upper middle panel)

· middle right: shows a Fourier (frequency domain) transform of each regressor

· lower: shows a graph of each regressor relative to peri-stimulus sampling (time bins)

N.B. 

· As shown in this example, the regressors are not completely orthogonal due to the limited number of sampling points (orthogonality therefore varies with TR length).

File:  the output of fMRI model specification at this point is saved as SPM_fMRIDesMtx.mat in the working directory.

N.B. 

· SPM displays only the first trial/session. To review the model for subsequent trials/sessions, select ‘review a model’ from ‘fMRI models’, select the SPM_fMRIDesMtx.mat file, and click ‘Explore fMRI design’ (lower left window), which will activate a pull-down menu.

3.2.2 Specification of a model – second step:

To complete specification and proceed to estimating your model, select estimate a specified model from ‘fMRI models’:

[image: image134.png]Wwhat would you like to do?.
specify a model
review a specified model
estimate a specified model
specify and estimate a model




Select:

[image: image135.png]Select SPM fMRIDesMix.mat




Select scans (for each session/subject):

[image: image136.png]select scans for session 1




Specify:

[image: image137.png]spm_fmri_spm_ui: Global intensity normalisation...

remove Global effects scale none




which provides the option of scaling global activity within a session (scaling across sessions/subjects occurs implicitly). This may remove e.g. scanner drifts within a session; on the other hand, large activations may be scaled down as well.

Specify:

[image: image138.png]i Temporal autocorrelation options

High-pass filter? none specify




Select specify if low-frequency confounds are to be removed. 

[image: image139.png]session cutoff period (secs)



:

The default suggested by SPM for epoch designs is two times the experimental cycle, e.g., for an ARAR…. design with A=8 scans and R=6, the default cut-off is 2(8+6)*TR. For event-related designs, the default is two times the longest interval between two appearances of the most frequently occurring event. For both epoch- and event-related designs the lower threshold is 32sec, the upper threshold is 512sec.

Specify:

[image: image140.png]Low=pass filter?  none Gaussian hrf




If there were no correction for temporal autocorrelation in fMRI data, statistical inference would produce inflated results (the actual number of degrees of freedom is lower than the number of observations (scans)). SPM99 gives two options to deal with this problem: 

(i) Replacing the unknown autocorrelations by an imposed autocorrelation structure, by smoothing the data with a temporal filter that will attenuate high frequency components, hence a ‘low-pass filter’. The shape of this filter can be either Gaussian or hrf. Differences between these two are slight but hrf may provide a better sensitivity for event-related data modelled using a hrf-basis function; 

(ii) Attempting to regress out the unknown autocorrelations (AR(1)-model, see below). 

If Gaussian, specify filter width (default = 4sec):

[image: image141.png]Gaussian FWHM (sscs)




A large (wide) filter implies that attenuation will occur at lower frequencies (or, put differently, that high frequencies will be suppressed more) than with a small filter. The trade-off is that a large filter may remove interesting data while a small filter will not be adequate to impose a new (known) autocorrelation structure on the data. 

Specify:

[image: image142.png]Correct for serial correlations? none ARCT)




AR(1) = auto-regression (1) = modelling serial correlations by regressing out the variance explained by the previous observation (scan). 

N.B.  

· Either temporal smoothing or AR(1) should be chosen, not both.

· It is unclear whether the AR(1) option provides adequate correction for serial correlations and hence biased statistics. More extensive autoregression models (AR(n)) are more flexible than low-pass filtering but are computationally demanding.

· Serial correlations affect only statistical inference at the first level. Correction may therefore be omitted when one is only interested in a second-level (random effects) analysis.

Finally, specify:

[image: image143.png]spm_fmri_spm_ui: Estimation op!

Setup trial-specific F~contrasts?

no




i.e., default F-contrasts for each trial type will be computed.

Output from fMRI model specification (spm_fmri_spm_ui.m) – 2nd step:

[image: image144.png]images

Statistical analysis: Design

Jase/asel fsnefl01776 0012 img
Jase/asel fsnifl01776 001 6img
Jase/asel fsnefl01776 0020img
Jase/asel fsnefl01776 002 4 img
Jase/asel fsnifli01776 0028 img
Jase/asel fsnefl01776 0032 img
Jase/asel fsnefl01776 0036 img
Jase/asel fsnefl01776 0040 img
Jase/asel fsnrflD1776 0044 img
Jase/asel fsnefl01776 0043 img
Jase/asel fsnefl01776 0052 img
Jase/asel fsnefl01776 005G img
Jase/asel fsnefli01776 0060 img
Jase/asel fsnefl01776 0064 img
Jase/asel fsnefl01776 0063 img
Jase/asel fsnefl01776 0072 img
Jase/asel fsnefl01776 007 6img
Jase/asel fsneflI01776 0080 img
Jase/asel fsnefl01776 0034 img
Jase/asel fsnefli01776 0038img
Jase/asel fsnefl01776 0092 img
Jase/asel fsnifl01776 0098 img
Jase/asel fsnefl01776 0100 img
Jase/asel fsnefl01776 0104 img
Jase/asel fsnefl01776 0108 img
Jase/asel fsnefl01776 0112 img
Jase/asel fsnefl01776 0116img

Jase/asel fsnefl01776 0123 img

parameters

gy not uniquely specified)

parameter estimability

Design description..

Variable sOA
it Gwith time and dispersion derivatives)

1

2.00
[min] Cutoff period 72 seconds
Caussian FwHH 4.0 seconts
fione

mean voxel value

gession specific

+ Saaling

ons per session

terstan interval

High pass

- 10w pass

Intrinsic correiations
Global calculation





Display: the design matrix shown at this point is simply the left upper panel of the previous graph, with the file names of the scans added, and with other details of the configuration listed underneath.

Output: the configuration for the design matrix is saved as SPMcgf.mat in the working directory.

N.B. 

· The design matrix is also shown when the ‘specify and estimate a model’ option has been chosen.

As with PET/SPECT models, SPM provides the option to begin parameter estimation now or at a later stage:

[image: image145.png]estimate? now Iater




If ‘later’, select ‘Estimate’ (middle panel) and select the appropriate SPMcfg.mat file. 

N.B. 

· Model estimation may also be launched via the ‘Explore design’ option. SPM will prompt you to select a SPMDesMtx.mat or a SPMcfg.mat file for inspection. 

· Clicking ‘Design’ (lower left window) will activate a pull-down menu that allows selection of displays for the design matrix for each session, details of design orthogonality (surfable), and model estimation (when the SPMcfg.mat file was selected). 

Output from fMRI parameter estimation (spm_spm.m):

· beta_0001.img/hdr, beta_0002.img/hdr, beta_0003.img/hdr, ….. : images containing parameter estimates for each column in the design matrix 
· mask.hdr/img : mask image consisting of  0’s and 1’s indicating which voxels within the image volume are to be assessed
· ResMS.hdr/img : image of estimated residual variance 
· RPV.hdr/img : image of estimated resels per voxel
· SPM.mat: contains details of design matrix, analysed images, search volume, smoothness estimates and results files. 
· xCon.mat: contains default F-contrast (so-called ‘effects of interest’) which are used for selecting ‘interesting’ voxels at which to save raw data for future plotting
· Y.mad: contains (in compressed form) the raw (unsmoothed) data at voxels with an F-statistic higher than the default. Each column corresponds to one voxel, each row to an input image 
· Yidx.mat: contains a 1 x N vector of column indices used in the Y.mad file (where N = number of available voxels)
3.3 Customisations for PET/SPECT and fMRI statistics
Select PET or fMRI statistics from the lower panel:

[image: image146.png]Defaults Area?.
Printing Options
Miscellaneous Defaults
Header Defaults — FMRI
Realignment
Coregistration
Spatial Normalisation
Statistics — FMRI
Reset All




Defaults for model specification and parameter estimation are few to allow maximal flexibility.

For both PET and fMRI, specify:

[image: image147.png]Upper tail F prob. threshold




for the default ‘effects of interest’-F-test. The default value for PET is p<0.05 uncorrected (for multiple comparisons), for fMRI p<0.001 uncorrected.

For fMRI only, specify:

[image: image148.png]



SPM interpolates each TR over this number of time bins to increase temporal resolution. 16 is chosen as default because it provides a reasonable degree of temporal resolution for typical TRs of 3-4s. The number of time bins could be equal to the number of slices, but increasing this number will not gain any real sensitivity (with typical TRs, given the time constants of the HRF and temporal smoothing), and may slow down computation.

Specify:

[image: image149.png]sampledbindnfiie) 1 |




SPM uses the sampled bin to determine the value of a covariate at each scan. This should be adjusted if slice time correction is selected (e.g. for event-related fMRI) and the middle slice in time has been chosen as a reference slice (see 2.4). In this case, if the number of bins is 16, the sampled bin should =8 (i.e. the corresponding middle time bin). 

3.4 Basic models (spm.spm_ui.m)

These are basic models for simple statistics, usually at a second level to extend the sphere of inference (random effects (RFX) analysis). Because SPM considers only a single component of variance (the residual error of variance), all analyses involving repeated measures within subjects are to be considered fixed-effects analyses, so that inferences are only valid for the sample under study. To allow inferences valid for the population from which the sample was drawn, a two-stage analysis is required, to account for first or intrasubject and second or between-subject levels of variance. During the first step, scan to scan variance (intrasubject) is modelled for each subject separately, resulting in a summary measure or ‘scan’. These summary scans (usually t-contrast images (con*.img), containing weighted parameter estimates; see 4) are then fed into a second, between-subjects level analysis, using the ‘Basic models’ option.

N.B. 

· For second-level analyses, first-level individual subject models should be the same (i.e. it should be a balanced design).

· To compute contrast images for a second-level analysis, either a single-subject OR a subject-separable multi-subject model should be chosen for the first level analysis, i.e. for PET ‘Multi-subject, cond x subj interaction & covariates’ (single-group design) or ‘Full Monty’ (multi-group design). 

· For fMRI, each subject should be specified as one session, or contrasts should be specified over sessions. For example, if 10 subjects did two sessions each, this can be analysed as a 20-session experiment, with individual contrast images specified by 1 1 0 0 0 …., 0 0 1 1 0 ….., and so forth.

· The ‘Basic models’ option may also be used to analyse ‘raw’ (first-level) data. For this purpose SPM provides options for global normalisation, grand mean scaling and thresholding / implicit masking similar to those discussed for PET/SPECT models. For second-level analyses, however, it is not necessary to use these options at this stage because global normalisation etc. has been specified as part of the first level analysis.

Select:

[image: image150.png]Select design type.

One sample t—test

Two sample t—test

Paired t-test

One way Anova

Simple regression (correlation)
Multiple regression

AnCova




· One sample t-test: tests the null hypothesis that the mean of one group of observations is identical to zero. For example, a second level analysis of activation-rest contrast images from a multi-subject experiment.

· Two sample t-test: tests the null hypothesis that the mean of one group of observations is identical to the mean of a second group of observations. For example, a second level analysis of activation-rest contrast images from a two-group (e.g., patients and controls) experiment. 

· Paired t-test: tests the null hypothesis that the mean difference between a group of paired observations is zero. For example, a second level analysis of activation-rest contrast images from a multi-subject experiment with two separate sessions (e.g., pre- and post-therapy).

· One way Anova: tests the null hypothesis that the means of two or more groups of observations are identical. For example, a second level analysis of activation-rest contrast images from a three-group (e.g., patients A, patients B, and controls) experiment.

· Simple regression (correlation): tests the null hypothesis that the slope of a fitted (using a least squares solution) regression line describing the relation between a predictor and an outcome variable is zero. For example, a multi-subject PET-ligand study with age as a potential confound.

· Multiple regression: regression with two or more predictors and one outcome variable. Tests the null hypothesis that the slope of the regression line for each predictor variable is zero. For example, a multi-subject PET-ligand study with age AND weight as potential confounds.

N.B. 

· Designs in which one or more factors represent repeated measures (e.g. from the same subject) with more than two levels (e.g. a one-way Anova on three observations from the same group) are not strictly valid. This is because SPM (currently) assumes that the data are “spherical”, which is rarely true in such models. RFX analyses are therefore normally restricted to one- or two-sample t-tests.

· Designs with one measurement of a potential confound per subject (age, weight, education level, etc.) may also be analysed using the PET/SPECT models: ‘single subject, covariates only’ option, treating each subject as a scan.

· AnCova: analysis of covariance: regression with two or more groups of observations and one predictor. Tests the null hypothesis that the distance between parallel regression lines is zero AND the null hypothesis that the means of two or more groups of observations are identical, with the effects of the predictor (confound) removed. For example, a second level analysis of activation-rest contrast images from a two-group (e.g., patients and controls) experiment, with IQ as a potential confound. See example below

Example: AnCova (two groups, one covariate)

Specify (e.g. 2):

[image: image151.png]AnCova

faroups |1 [z afaf s |



Select (for both groups):

[image: image152.png]group 1: select images...




Specify a vector whose length equals the total number of scans:

[image: image153.png]



Specify (e.g., IQ):

[image: image154.png]nuisance variable name?





Select:

[image: image155.png]GMsca: grand mean scaling.

saaling of overall grand mean
* <no grand Mean saaling>




-     scaling of all images to overall grand mean: use only for first-level analyses.

· no grand mean scaling (= default): for second-level analyses (as in this example).

Select (none):

[image: image156.png]Threshold masking none | absolute| prop’nal




Select (no):

[image: image157.png]Implicit mask (ignore zero's)? __




Thresholding and implicit masking (i.e., ignoring zeros. SPM will automatically disregard zero values indicated by NaN (Not a Number)) should only be performed at the first level. 

Select (no):

This option is primarily for analysing raw data; usually, images will be masked at the normalisation stage (2.4).

[image: image158.png]explicitly mask images? __



 

Select (omit):

[image: image159.png]Global calculation.
* omit
user specified
mean voxel value (within per image fullmean/& mask)



 

Again, this option is for first-level analyses only.

Output from Basic models (spm_spm_ui):

[image: image160.png]images

Statistical analysi

: Design

aroup,

Jhomedickftampiest img
Jhomedicktampiestz img
Jhomedickftempiestzimg
Jhomedickftampiestaimg
Jhomedickftampiests img
Jhomedicktampiests.img
Jhomedickftampiest img
Jhomedicktampiests.img
Jhomedickftampiesto.img
Jhomsdicktemp et 0.mo
Jhomsdicktemp e 1 imo
Jhomsdicktemp e 2 imo
Jhomsdicktamp e 2.mo

hemedick/temptast 4img

parameters

parameter estimability

gy not uniquely specified)

Design description

Design : AnCova
Global calculation : omit

Global normalisatio|

<o grand Mean scaling>.
<no glgbal normalisation>

‘Parameter

2 condition, +0 covariate, +1 block +1 nuisance
4 fotal, having 3 dearees of freedom
leaving 11 degrees of freedom from 14 imagss




Display: SPM displays a design matrix having columns for each parameter (in this example, two groups, one constant (block), and one covariate (IQ in this example), and a row for each scan (subject). Again, the grey-and-white bar below the design matrix signals that the matrix is rank deficient (columns 1-3 are linearly dependent) which limits selection of meaningful contrasts (parameter weights) for group effects to those which sum up to zero (see 4).

File: the configuration for the design matrix will be saved as SPMcfg.mat in the working directory.

Finally, specify:

[image: image161.png]estimate? now Iater




to begin parameter estimation now or at a later stage. If ‘later’, select ‘Estimate’ (middle panel) and select the appropriate SPMcfg.mat file. 

N.B. 

· Model estimation may also be launched via the ‘Explore design’ option. SPM will prompt you to select a SPMcfg.mat file for inspection. 

· Clicking ‘Design’ (lower left window) will activate a pull-down menu which allows selection of displays for the design matrix, details of design orthogonality (surfable), selected scans and specified conditions, and covariates. It does not provide options to edit the model.

Output from Basic models parameter estimation (spm_spm.m):

· beta_0001.img/hdr, ... : images containing parameter estimates for each column in the design matrix. 
· mask.hdr/img : mask image consisting of  0’s and 1’s indicating which voxels within the image volume are to be assessed.
· ResMS.hdr/img : image of estimated residual variance. 
· RPV.hdr/img : image of estimated resels per voxel. 
· SPM.mat: contains details of design matrix, analysed images, search volume, smoothness estimates and results files. 
· xCon.mat: contains default F-contrast (‘all effects‘ or ‘effects of interest’) which is used for selecting voxels at which to save raw data for future plotting.
· Y.mad: contains (in compressed form) the raw (unsmoothed) data at voxels with an F-statistic higher than the default. Each column corresponds to one voxel, each row to an input image. 
· Yidx.mat: contains a 1 x N vector of column indices used in the Y.mad file (where N = number of available voxels).
4. Results assessment (spm_results_ui.m)

This section deals with the interactive exploration and characterisation of the results of a statistical analysis. For this purpose, three data sets will be discussed, which can be found at http://www.fil.ion.ucl.ac.uk/spm/data. These examples are (i) a single-subject epoch (block) fMRI  study, (ii) a multi-subject PET study, (iii) a single-subject event-related fMRI study.

4.1 Example 1: single-subject fMRI block design (plotting and overlays)

This is a single-subject auditory activation study, with alternating 6-scan blocks of rest and binaural stimulation (speech). Details of model specification and parameter estimation can be found in the README_analysis.txt.

After completing model estimation (this is shown in the lower left SPM and Matlab windows), press ‘Results’.

Select: 

[image: image162.png]Select SPM.mat




This will invoke the Contrast Manager:

[image: image163.png]R
e e e e [ |

Sefected 0 contrasts, = ‘





The contrast manager displays the design matrix (surfable) in the right panel and lists specified contrasts in the left panel. Either ‘t-contrast’ or ‘F-contrast’ can be selected. One F-contrast is predefined  (‘effects of interest’).

To examine statistical results for condition effects, select ‘Define new contrast’:

[image: image164.png]define contrast.

® t-contrast | ) F-contrast

weahes

o contrastts)

e

Design matrix

Reset | Cancel

oK

parameter estimability





Main effects for the active condition (i.e., a one-sided t-test) can be specified (in this example) as ‘1’ (active > rest) and ‘-1’ (rest > active). SPM will accept correct contrasts only. Accepted contrasts are displayed at the bottom of the contrast manager window in green, incorrect ones are displayed in red. To view a contrast, select the contrast name (e.g., active>rest) and press ‘Done’:
[image: image165.png]Selected 0 contrasts.





Specify (no):

[image: image166.png]mask with other contrast®) yes [ no |




Masking implies selecting voxels specified by other contrasts. If ‘yes’, SPM will prompt for (one or more) masking contrasts, the significance level of the mask (default p = 0.05 uncorrected), and will ask whether an inclusive or exclusive mask should be used. Exclusive will remove all voxels which reach the default level of significance in the masking contrast, inclusive will remove all voxels which do not reach the default level of significance in the masking contrast. Masking does not affect p-values of the ‘target’ contrast, it only includes or excludes voxels.

Select (enter a title):

[image: image167.png]title for comparison  [activesrest




Specify (yes):

[image: image168.png]corrected height threshold _ _




Select a height/amplitude threshold to examine results that are either corrected for multiple comparisons (‘yes’), or uncorrected (‘no’) at a voxel-level. 

Specify:

[image: image169.png]



For corrected comparisons, the SPM default is p=0.05, for uncorrected comparisons, p=0.001. 

Specify:

[image: image170.png]&extent threshold fvorels} [0




Select the number of voxels to restrict the minimum cluster size. 0 will include single voxel clusters (‘spike’ activations). 

Output from Contrast Manager:

[image: image171.png]| EoberiaysCl |

e e

a7





[image: image172.png]activesrest

contrastts)

1 z
Desian matrix





Files: images containing weighted parameter estimates are saved as con_0002.hdr/img, con_0003.hdr/img, …etc. in the working directory. Images of T-statistics are saved as spmT_0002.hdr/img, spmT_0003.hdr/img.. etc., also in the working directory.

Display: in the Graphics window, SPM displays 

(i) a maximum intensity projection (MIP) on a glass brain in three orthogonal planes. The MIP is surfable: R-clicking in the MIP will activate a pulldown menu, L-clicking  on the red cursor will allow it to be dragged to a new position.

(ii) the design matrix (showing the selected contrast). The design matrix is also surfable: R-clicking will show parameter names, L-clicking will show design matrix values for each scan. 

In the SPM Interactive window (lower left panel) a button box appears with various options for displaying statistical results (p-values panel) and creating plots/overlays (visualisation panel). Clicking ‘Design’ (upper left) will activate a pulldown menu as in the ‘Explore design’ option.

To get a summary of local maxima, press ‘volume’:

[image: image173.png]active>rest

L 7 3 contrastts)

 dib,

1 2
Design matrix

Sakbryasasag

ol o t s ool i > 8 0 oport e
G TT 337 00000 0 050 coreach - Daress et < 10,735

B 12 e oS ) St = 2105 b3 gt =345 447 vy
Expected number of duster, <6 = 0.05 Voel ize: .0,2.0, 2.0 mm (1 resel= 13771 venehy





This will list all clusters above the chosen level of significance as well as separate (>8mm apart) maxima within a cluster, with details of significance thresholds and search volume underneath. The columns show, from right to left:

· x, y, z (mm): coordinates in Talairach space for each maximum

· voxel-level: the chance (p) of finding (under the null hypothesis) a voxel with this or a greater height (T- or Z-statistic), corrected / uncorrected for search volume

· cluster-level: the chance (p) of finding a cluster with this or a greater size (ke), corrected / uncorrected for search volume

· set-level: the chance (p) of finding this or a greater number of clusters (c) in the search volume

N.B. 

· The table is surfable: clicking a row of cluster coordinates will move the pointer in the MIP to that cluster, clicking other numbers will display the exact value in the Matlab window (e.g. 0.000 = 6.1971e-07).

· To inspect a specific cluster (e.g., in this example data set, the R auditory cortex), either move the cursor in the MIP (by L-clicking & dragging the cursor, or R-clicking the MIP background which will activate a pulldown menu). 

· Alternatively, click the cluster coordinates in the volume table, or type the coordinates in the lower left windows of the SPM Interactive window. 

Select ‘cluster’: 


[image: image174.png]Statistics: _single cluster summary (p-values corrected for entire volume)

CTusterTavel Vorel-lovel
e i e S ]





This will show coordinates and voxel-level statistics for local maxima (>4mm apart) in the selected cluster. This table is also surfable.

To plot effect size and/or signal time course from a voxel, e.g. for the cluster maximum, move the cursor to (60 –20 8). Next, press ‘plot’:

[image: image175.png]Plot,

Contrast of parameter estimates
Fitted and adjusted responses
Event/epoch-—related responses
Plots of parametric responses
Volterra Kernels




· Contrast of parameter estimates: SPM will prompt for a specific contrast (e.g., active>rest). The plot will show effect size and error bars (in %).

· Fitted and adjusted response: Plots adjusted data and fitted response across session/subject. SPM will prompt for a specific contrast and provides the option to choose different ordinates (‘an explanatory variable’, ‘scan or time’, or ‘user specified’). If ‘scan or time’, the plot will show adjusted BOLD data (in %, blue dashed line) and the regressor(s) used (red solid line):


[image: image176.png]size of effact at [50, 20, 8]
PO - S

Contrast of parameter estimates
active>rest

effect






 EMBED Word.Picture.8  [image: image177.png]Fitted and adjusted responses.
active>rest

responsa at 0, ~20, 8]

0 200 300 400 00 80
time (seconds)




· Event/epoch-related responses: Plots adjusted data and fitted response across peri-stimulus time. SPM provides four options:

· fitted response: simple plot of mean (i.e., averaged over session) regressor(s) across PST

· fitted response and PSTH (peri-stimulus time histogram): plots mean regressor(s) and mean signal +/- SE for each time bin.

[image: image178.png]responss at 160, 20, 8]

70

fitted response

0 30 a0 50
peri=stimulus tims fsecs)
active (Session 1) -1

3

70



[image: image179.png]resnonse at [50, -20, 8]

fitted response and PSTH

T 20 30 40 50 &0
peri~stimulus time {secsh
active (Session 1) -1

70




· fitted response +/- standard error: plots mean regressor(s) +/- SE

· fitted response and adjusted data: plots regressor(s) and individual data (note that in this example the data are shown in columns due to the fixed TR/ISI relationship) 

[image: image180.png]responsa at [0, ~20, 8]

, fitted response +/~ standard error

o 16 20 30 40 S0 &0 70
peri=stimulus tims fsocs)
active (session 1) -1



[image: image181.png]responsa at[50, -20, 8]

fitted response and adjusted data

o 16 20 30 40 S0 &0 70
pori=stimulus tims fsocs)
active (Session 1) -





N.B. 

· The values for the fitted response across session/subject for the selected plot can be displayed and accessed in the Matlab window by typing ‘Y’. Typing ‘y’ will display the adjusted data.

· ‘Adjusted’ data = adjusted for confounds (e.g., global flow) and high- and low pass filtering. 

For anatomical visualisation of a cluster (in this example, R auditory cortex), press ‘overlays’ which will activate a pulldown menu. There are three options: 

· slices: overlay on three adjacent (2mm) transaxial slices. SPM will prompt for an image for rendering (a canonical image (see spm_template.man) or an individual T1/mean EPI image for single-subject analyses)

[image: image182.png]omm





· sections: overlay on three intersecting (sagittal, coronal, transaxial) slices. These renderings are surfable: clicking the images will move the crosshair 

[image: image183.png]



· render: overlay on a volume rendered brain, with options for using a smoothed brain, and old (left) and new (right) style rendering.

[image: image184.png]eoe

LR



[image: image185.png]e¢d




Renderings can be saved as filename.img and filename.hdr in the working directory by using the write filtered option.

Other options (in the results controls panel):

· clear: clears lower subpanel of Graphics window

· exit: exits the results section

· ? : launches spm_results_ui help

4.2 Example 2: Multi-subject PET study (volume of interest, masking and conjunction analyses)

This is a PET word generation study with five subjects, each having 12 scans, with alternating conditions of word shadowing (baseline) and word generation (active), randomised across subjects (see the README.txt). Although this data set can be analysed in several ways, it is suggested to select a subject-separable model (Multi-subj: cond x subj interaction & covariates, see 3.1). Specify: # covariates = 0, # nuisance variables = 0, GloNorm: AnCova by subject.

After completing model estimation (this is shown in the lower left SPM and Matlab windows), press ‘Results’.

Select: 

[image: image186.png]Select SPM.mat




This will invoke the Contrast Manager:

[image: image187.png]Selected 0 controsts ]




To examine condition effects e.g. for subject 2, select ‘Define new contrast’. Specify e.g. ‘active>rest_subj2’ (name) and ‘0 0 -1 1’ (contrast), and press ‘submit’:

[image: image188.png](3

@ t-contrast | ) F-contrast

contrast

‘Design matrix

parameter estimability

Reset | cansl] _ox

name defined, ontrast defined 2l





As shown, SPM will interpret ‘0 0 –1 1’ as ‘0 0 –1 1 0 0 0 0 0 0’. Condition effects for each subject may be assessed as in the previous fMRI example. 

To examine group effects, define e.g. ‘active>rest_allsubj’ as ‘-1 1 -1 1 -1 1 -1 1 -1 1’ and select it (press ‘Done’):


[image: image189.png]] T LT T -

ost subj2 1

W

_Define now contast. | _Besat | oo |

Selected 1 controst press “Done when Fished





Specify (no):

[image: image190.png]el et i) R TN




Masking implies selecting voxels specified by other contrasts. If ‘yes’, SPM will prompt for (one or more) masking contrasts, the significance level of the mask (default p = 0.05 uncorrected), and will ask whether an inclusive or exclusive mask should be used. Exclusive will remove all voxels which reach the default level of significance in the masking contrast, inclusive will remove all voxels which do not reach the default level of significance in the masking contrast. Masking does not affect p-values of the ‘target’ contrast.

Specify (yes):

[image: image191.png]corrected height threshold _




 

Select a height/amplitude threshold to examine results that are either corrected for multiple comparisons (‘yes’), or uncorrected (‘no’) at a voxel-level. 

Specify:

[image: image192.png]



For corrected comparisons, the SPM default is p=0.05, for uncorrected comparisons, p=0.001. 

Specify:

[image: image193.png]eeendEetietE |




Select the number of voxels to restrict the minimum cluster size. 0 will include single voxel clusters (‘spike’ activations). 

Output from Contrast Manager:

[image: image194.png]| EoberiaysCl |

e e

a7




[image: image195.png]active>rest_alisubj

contrasts)

SPMresults:

Design matrix




Files: images containing weighted parameter estimates are saved as con_0002.hdr/img, con_0003.hdr/img, …etc. in the working directory. Images of T-statistics are saved as spmT_0002.hdr/img, spmT_0003.hdr/img etc., also in the working directory.

Display: in the Graphics window, SPM displays 

(i)
a maximum intensity projection (MIP) on a glass brain in three orthogonal planes. The MIP is surfable: R-clicking in the MIP will activate a pulldown menu, L-clicking  on the red cursor will allow it to be dragged to a new position.

(ii) the design matrix (showing the selected contrast). The design matrix is also surfable: R-clicking will show parameter names, L-clicking will show design matrix values for each scan. 

In the SPM Interactive window (lower left panel) a button box appears with various options for displaying statistical results (p-values panel) and creating plots/overlays (visualisation panel). Clicking ‘Design’ (upper left) will activate a pulldown menu as in the ‘Explore design’ option.

To get a summary of local maxima, press ‘volume’:

[image: image196.png]active>rest_alisub)

contrasts)

135731131917 20
Design matrix

volume summary (p-values corrected for entire volume)

Zas

e e T T T E

FRSERIRIEEREERAEE

bl shows o st tocs marima 8.0 apart o cte.
e el TS 75,5 0 000 0050 caraeed]  Deress f redom 10,45 01

S 12 v o 000 03T by S = S5 108 15 iy = 495335 vty
B T R N e = 006 sy





As in the previous example, this will list all clusters above the chosen level of significance as well as separate (>8mm apart) maxima within a cluster, with details of significance thresholds and search volume underneath. The columns show, from right to left:

· x, y, z (mm): coordinates in Talairach space for each maximum

· voxel-level: the chance (p) of finding (under the null hypothesis) a voxel with this or a greater height (T- or Z-statistic), corrected / uncorrected for search volume

· cluster-level: the chance (p) of finding a cluster with this or a greater size (ke), corrected / uncorrected for search volume

· set-level: the chance (p) of finding this or a greater number of clusters (c) in the search volume

N.B. 

· The table is surfable: clicking a row of cluster coordinates will move the pointer in the MIP to that cluster, clicking other numbers will display the exact value in the Matlab window (e.g. 0.000 = 6.1971e-07).

· To inspect a specific cluster (e.g., in this example data set, the L prefrontal cortex), either move the cursor in the MIP (by L-clicking & dragging the cursor, or R-clicking the MIP background which will activate a pulldown menu).

· Alternatively, click the cluster coordinates in the volume table, or type the coordinates in the lower left windows of the SPM Interactive window. 

Select ‘cluster’: 

[image: image197.png]active>rest_allsubj

contrasts)

SPMresults:

135751131517 20
Design matrix

Statistics: _single cluster summary (p-values corrected for entire volume)





This will show coordinates and voxel-level statistics for local maxima (>4mm apart) in the selected cluster. The table is also surfable.

Both in the ‘volume’ and ‘cluster’ options, p-values are corrected for the entire search volume. If one has an a priori anatomical hypothesis (obviously, in the present example, that Broca’s area will be activated during this word generation task) one may use the small volume correction option (see also Matthew Brett’s tutorial at http://www.mrc-cbu.cam.ac.uk/Imaging/vol_corr.html). Select ‘S.V.C.’ (left lower panel), and select a suitable region, e.g., a 30mm sphere with its centre at –44 16 0. Note that the region should be defined using prior knowledge (e.g., a mask image derived from previous imaging data).

[image: image198.png]active>rest_allsubj

SPMresults:

tics: search volume: 30.0mm sphere at [-44,15,0])

contrasts)

Design matrix

Toster—Teve]
[ — ) rrien





N.B. 

· As is shown, only corrected p-values change (become smaller) when SVC is used.

To extract a time course for data in this region of interest (spm.regions.m), select V.O.I. (Volume Of Interest) and select (‘don’t adjust’):

[image: image199.png]voltime-series extraction:at1-44 16 0

Adjust data for (select contrast).

<don’t adjust>

effects of interest
activesrest_subj1
activesrest_subj2
activesrest_subj3
activesrest_subjd
activesrest_subjs
activesrest_allsubj




Specify (e.g., Broca):

[image: image200.png]



Specify (accept default):

[image: image201.png]YOI radius (mm)





Output from spm.regions.m:

Display:

[image: image202.png]Vol weihting

Ist eigenvariate: Broca
o1

015

013
012

011

o 10 20 30 40 50 &0
scan number
1 vosels in sphere of radius omm at (44 16 0]

not adiusted
Varlands: 106.00%




SPM displays a graph of the first eigenvariate of the data in or centered around the chosen voxel (or the nearest suprathreshold voxel saved in the Y.mad file), and lists the eigenvariate values (Y) in the Matlab window. If temporal filtering has been specified (fMRI), then the data is temporally filtered. Adjustment is with respect to the null space of a selected contrast, or can be omitted. 

File: Y and VOI details (xY) are saved as VOI_regionname.mat in the working directory.

In this example, group effects are calculated averaged across subjects, therefore individual data may bias group results. To assess condition effects common to all subjects, one should either mask (inclusively) the ‘all_subj’ contrast with the individual contrasts, or perform a conjunction analysis. 

To assess the masked contrast, press ‘Results’, select the appropriate ‘SPM.mat’ file, and select the ‘all_subj’ contrast. 

Next, press ‘yes’:

[image: image203.png]mask with other contrast(s) _





Select all individual contrasts (by pressing [control] while selecting):

[image: image204.png]Select contrasts for masking.

[ tcomrasts | pconrasts [t |
a5l rome

o

7 offacts of nterest

=3
o
llsub)

Dofing new contrast.. | eset | _Done





Specify threshold (select default):

[image: image205.png]uncorrected mask p-value  [0.05




Select (inclusive):

[image: image206.png]



Specify (accept default):

[image: image207.png]title for comparison  [activesrest_allsubj (masked [




Specify (yes):

[image: image208.png]corrected height threshold _





Specify (accept default):

[image: image209.png]



Specify (accept default):

[image: image210.png]eeendEetietE |




When the MIP appears, press ‘volume’:

[image: image211.png]active>rest_allsubj (masked [inclusive] by {2,3,4,5,6} at p=0.05)

contrasts)

‘Design matrix

alues corrected for entire volume)

waatnm





The output shows all voxels which are (a) significant at p < 0.05 corrected across all subjects and (b) significant at p < 0.05 uncorrected for each subject individually.

To perform a conjunction across subjects, press ‘Results’, and select all individual contrasts (press ‘Control’):

[image: image212.png]Select contrasts...

tecontasts | ) pocontrasts | i ||
#4% typel name. 8

007 (T active>rest.allsub)

contrasts)

Oatina new conpast. | _pasat | _oons |





N.B. 

· Sometimes (e.g., if global confounds are used) the contrasts of parameter estimates are not exactly orthogonal (even if the contrast weight vectors are).  

· SPM checks whether the contrasts are orthogonal and if not makes them so (relative to the first contrast specified).
Next, press ‘no’:

[image: image213.png]mask with other contrast(s) _





Specify (accept):


[image: image214.png]title for comparison  [contrasts {2, 3




Specify (yes):

[image: image215.png]corrected height threshold _





Specify (accept default):

[image: image216.png]



The p-value (corrected or uncorrected) refers to the threshold of the conjunction; SPM will compute corresponding thresholds for individual contrasts (for uncorrected thresholds, the individual threshold will be p1/n, where p = individual threshold and n = number of contrasts in the conjunction).

N.B.  

· In SPM99b, uncorrected p-values were applied by SPM to individual contrasts, so that the threshold of the conjunction was pn. 

· Height, and not extent, is used to specify thresholding because the distributional approximations for the spatial extent of a conjunction SPM are not known (at present), so that inference based on spatial extent is precluded. 

When the MIP appears, press ‘volume’:

[image: image217.png]contrasts {2,3,4,5,6} ot

SPMresults

135751131517 20
Design matrix

Statistics: _volume summary (p-values corrected for entire volume)





Although the MIP’s of the masked group contrast and the conjunction are similar, for the conjunction an intersection SPM or ‘minimum T-field’ is computed. Conjunctions in SPM99 represent the intersection of several SPMs.  This intersection is the same as thresholding a map of the minimum T-values (if the smallest T-value is above the specified threshold then all the T-values associated with the component SPMs are above threshold). 

Conjunction SPMs are very useful for testing multiple hypotheses (each component hypothesis being specified by a contrast). In this example, the set of hypotheses tested jointly is that the first subject did not activate, the second subject did not activate and so on.  In regions that survive a conjunction analysis the null hypothesis is rejected jointly for all subjects.  This can be thought of as enabling an inference that subject 1 activated AND subject 2 activated AND subject 3... etc. 

Gaussian field theory results are available for SPMs of minimum T- (or F-) statistics and therefore corrected p-values can be computed.  Note that the minimum T-values do not have the usual Student’s T-distribution and small minimum T-values can be very significant.

4.3 Example 3: single-subject fMRI event-related design (F-contrasts)

As a third and more sophisticated example, consider the data from a repetition priming experiment performed using event-related fMRI. Again, details regarding the data set can be found in the README.txt. Briefly, this is a 2x2 factorial study where famous and non-famous faces were presented twice (while the subject was asked to make fame judgements) against a checkerboard baseline. There are thus four event-types of interest, (first and second presentations of famous and non-famous faces, ordered in the design matrix N1-N2-F1-F2), each modelled with a canonical HRF and its temporal derivative. Also included are two event-types of no interest – the (rare) errors made by this subject on the fame-judgement task - and the subject’s realignment parameters, to regress out residual movement-related variance. The latter can be achieved by loading the realignment_*.txt file (output from the realignment stage) as a matrix into the Matlab workspace and entering the matrix name in the SPM input box (rather than specifying 6 vectors of length 351 in this example). Preprocessing of the data includes slice timing correction having the middle slice (12) as the reference slice. Therefore, prior to specifying the model, in the fMRI statistics defaults, the sampled bin should be equal to half the number of bins. For example, enter number of bins = 24 (the number of slices) and the sampled bin=12, using the Defaults button. In addition, stimulus onset times have been specified as a cell array variable, allowing different vector (row) lengths for separate trials.

In addition to analysing the data in the above “categorical” design, an alternative “parametric” design is illustrated in which repetition is viewed as a continuum. In this case, the response to each presentation of famous and non-famous faces is modulated by the time interval (lag) since the previous presentation of that face (for first presentations, this lag is infinite). 

To assess the results for the categorical (factorial) analysis, specify and estimate the model (alternatively download the CatStats files). Next, press ‘Results’ and select the appropriate SPM.mat file. This will again invoke the contrast manager:

[image: image218.png]##2 (iype) : name





To assess the main effects of viewing faces vs. baseline, select ‘Define new contrast’ and type ‘Canonical HRF: Faces > Baseline’ (name) and ‘1 0 1 0 1 0 1 0’ (contrast), and press ‘Done’.

Specify (no):

[image: image219.png]mask with other contrast(s) yes || no




Specify (accept default):

[image: image220.png]title for comparison  [Canonical HRF: Faces > Basell




After computation of the contrast, specify (yes):

[image: image221.png]corrected height threshold

ves




Specify (accept default):

[image: image222.png]corrected p value  [0.05




Specify (accept default):

[image: image223.png]&extent threshold fvoxels} |




When the MIP appears, press ‘volume’:

[image: image224.png]Canonical HRF: Faces > Baseline

contrast(s)

SPMIT.MZ_-'f

B NN e e S e

1357 91113151713
Design matrix

Statistics: _voiume summary (p-values corrected for entire volume)

Setlevel Tuster—Tevel vorelTevel o
[N PR Py i Jri S R —
P o ws oo oo masm  ( mn oaw ez
Pt T S 1T}
L B S N (TR )
o ws oo P R -
Pt A N ) 5
Com o mn v prppy
o m o Cow em  crem o w
Vo s (S oo s
o mo om Coo e (e o s 3
Coo  m oo Cow 7 (e o el s
e R o Cow 7o (e o T
G ThOLEE il
o we oo Qoo e (eam  oaw  s-ie s
PRt e S 1T ]
Com e csan wwe  Gsloog
oo m o e Cow g (ssw o % 2 2
Coo m owe Cow  coo (s oo e
G ;o oe Qo e (sew oo 2 s
v 3 o Coe  Za (sam o mom s
ver i oz G 5w (aem oo e s
Ve i iz G e (aem oo F
Coe oz e Com  sm (e o e
Co 2 b Cow s (e oo R

tabls shows at most_local maxima > 8.0mm apart par dusts
0.000 (0.050 corrected] | Degress of fraedom = [1.0, 142.1]
1.000 (0,050 corracted) Smocthnss FWHM = 115 118 12.0 {mm} = 2.8 3.9 4.0 froxel:
V580 Searchvoluma: § = 1644425 mmAZ = 60905 voxelz= 901 4 re
05 Voxel sz (3.0, 3.0,3.0] mm (1 rasel = 60.62 vacels)

Height threshold 7= 4.57,
Extant thrashald: k= 0 vaxels, p
Expected voels per cluster, <k>
Expacted number of clusters, <





The table lists all areas where the mean of the parameter estimates for the canonical hrf of the four conditions is significantly greater than baseline (zero). To assess both the hrf and its temporal derivative, an F-contrast is required. Press ‘Results’, select the SPM.mat file, and press ‘F-contrast’ (radio button). Next, select ‘Define new contrast’, specify ‘hrf + temp deriv: Faces vs. Baseline’ (name) and enter

‘1 0 1 0 1 0 1 0

0 1 0 1 0 1 0 1 ‘ (contrast) and press ‘Done’:

[image: image225.png]hrf + temp deriv: Faces vs. Baseline

contrast(s)

) t-contrast | & F-contrast

s

e
i 1

ToTe Trigie peaied wieh 11 woroa]
101 & (eigh padted with 11 seros)

Reset | Cancel| Ok parameter estimability

name defined, contrast defined >





Select the new contrast, specify ‘mask with other images?‘ (no), specify ‘name of comparison’ (accept default), specify ‘corrected height threshold’ (yes), specify ‘corrected p value’ (accept default). Again, when the MIP appears, press ‘volume’:

[image: image226.png]hrf + temp deriv: Faces vs. Baseline

Statistics: _volume summary

Set-Tevel Cluster.

Tevel

12

RSoamews

&

bl s

contrast(s)

1357 91113151713

Design matrix

alues corrected for entire volume)

vorel-Tevel

P P %t Puomadd  Pomam A

oo m P oo s | wme oo T
oo wmse (119 oo oo w15

oo e (e oo ey

1007 oo sl | e 00w 33 26 15
oo wme  (mp oo e

oo moe  (m oo i

o oo azes 7w oo e
oos e (533 oo B3

an oo s |7 oo T3 a8
oo als (e oo &

oo wmles (619 oo 2

" oo w2 |Tm oo s
s I @
i oo s jess oo i
1 oo w1 s oo 5
oos  lem (43 oo =

= oo wmw e 00w =
e oo ma sl oo i
oo wmm  (eay oo .

oo s (o oo -

2 oo e e oo 5
S oo ke ea oo i
oo s (s oo i

oo wes (s oo o

a oo mE  jen) oo I

table shows at most_local maxima > 8.0mm apart per cluster

Felght threshaldi F = 1527, =

Extent threshold: k = 0 uosels, p = 1000 (0.050 corrected)

Expected vosels per cluster, <k>
Expected number of Chsters, <c>

0 (6050 corrected]

251
s

Degress of freedo
Smoothness FHM
Search valume:§ =
Vowe size: (3, 30,
page 1

=G0, 1a21]

15118 120 (mm) =38 39 40 (vonels)
0305 goels = 3014 resels

644435 mma:
30T mim (1 rese]

052 voels)




Although the MIP of this F-contrast looks similar to the previous t-contrast, note that the present contrast shows the areas for which the mean of the parameter estimates for the canonical hrf OR its temporal derivative for the four conditions are different from zero (baseline). In other words, the F-contrast is two-sided, and tests two t-contrasts simultaneously. Also note that an F- (or t-) contrast such as 1 1 1 1 1 1 1 1, which tests whether the mean of the canonical hrf AND its temporal derivative for all conditions are different from (larger than) zero is not sensible. This is because the canonical hrf and its temporal derivative may cancel each other out while being significant in their own right. Finally, note that single F-contrasts can be regarded as t-contrasts^2, so that the F-contrasts 1 0 -1 0 1 0 –1 0 and –1 0 1 0 –1 0 1 0 are equivalent. 

The relative contributions of the canonical hrf and its temporal derivative at a given voxel may also be assessed using F-contrasts to estimate a reduced model, removing all confounds. Press ‘Results’, select the SPM.mat file, press ‘F-contrast’ in the contrast manager, and select ‘Define new contrast’. Specify ‘Effects of Real Interest’ (name) and type ‘9:19’ in the small window labelled ‘columns for reduced design’. This will remove columns 9 to 19 (i.e., hrf and temporal derivative for events representing error judgements and nuisance covariates) from the design. 

[image: image227.png]contrast(s)

Design matrix.

oK parameter estimability

B





Submit and select the new contrast, specify ‘mask with other images?‘ (no), specify ‘name of comparison’ (accept default), specify ‘corrected height threshold’ (yes), specify ‘corrected p value’ (accept default). Again, when the MIP appears, press ‘volume’:

[image: image228.png]Effects of Real Interest

contrast(s)

NS0 ma

&

G B2 e

SPMresults:

1357 91113151713
Design matrix

volume summary (p-values corrected for entire volume)

Set-level CTuster—level oRel-Tevel -
P ¢ Poma  F Pucmos  Pomaw  F L
oo w0 e ooz mn oo s owom
Pt T i S 1T}
L R S S N 1T s g}
a Qoo ma o mn o 2
Com RE O Dmn e
Com v Cmn v
- Coo  wmo (v o
=0 Cowo s (v oo
PRt T R
Com s (g v
= Coo s (vem oo
e Coo e (ca oo
= Cow s (e oo
H Cow a3 (cam o
R A
- Coo s (eaw oo
b Coo s (com oo
i Cow  ce  (sem oo
- Cow om (s o
bt G o (sew oo
B Con 7 (sen oo
G T LEE e
= Cos s (sen oo
) Coe e (s o
B Coe  7Ee  (sam o
i Con 7w (s o

tabls shows at most_local maxima > 8.0mm apart par dusts
Helght thrashold = 6,15, p = 0.000 [0.050 corrected] Degress of freedom = 7.9, 142.1]

Extent thrashold: k = 0 vex'ls, p = 1.000 (0,050 corracted) Smocthness FWHI= 115 118 12,0 {mm} = 3.8 3.9 4.0 fvaxels]
Expacted voels per cluster, <k 0505 voxelz = 501 4 res
e ected mamber of clusters ar 60.62 voxels)

032 Search voluma: § = 1644425 mmAZ
.08 Voxel size: [2.0,2.0,2.0] mm (1 resel




Move the cursor to e.g. the anterior right fusiform blob (the R fusiform face area) by clicking the second set of coordinates in the cluster (45 –48 –27) and press ‘plot’. Select ‘Contrast of parameter estimates’ and select ‘Effects of real interest’:

[image: image229.png]size of effect at [45, 48, -27]

o7

06

0s

04

03

02

01

Contrast of parameter estimates
Effects of Real Interest





Columns 1,3,5,7 are the canonical hrfs for N1 (non-famous faces, first presentation), N2 (non-famous faces, second presentation), F1 (famous faces, 1st presentation) and F2 (famous faces, 2nd presentation), whereas columns 2,4,6,8 are the temporal derivatives. Note that the amplitude of the canonical hrfs is large compared to the temporal derivatives, suggesting that, for this region at least, the timing of the model is adequate. Also note the repetition x stimulus type interaction (the decrease from N1 to N2 is smaller than for F1 to F2).

To assess further the effects of stimulus repetition, press ‘Results’, select the SPM.mat file, and press ‘F-contrast’. Specify e.g. ‘hrf + temp deriv: 1 vs. 2’ (name) and

‘1 0 –1 0 1 0 –1 0

0 1 0 –1 0 1 0 –1’ (contrast). Submit and select the contrast. Specify ‘mask with another contrast’ (yes), select the ‘Canonical HRF: Faces > Baseline’ t-contrast, specify ‘threshold for mask’ (accept default of p=0.05 uncorrected), specify ‘nature of mask’ (inclusive), specify ‘title for comparison’ (accept default), specify ‘corrected height threshold’ (no), specify threshold (0.001). 

Again, when the MIP appears, press ‘volume’:

[image: image230.png]vs 2 (masked [inclusive] by Canonical HRF: Faces > Bas

contrasts)

"

&





The MIP shows all clusters where the difference between the parameter estimates for first and second presentations for the canonical hrf OR its temporal derivative is significantly different from zero AND the canonical hrf for all four conditions is significantly larger than zero. Note that although the mask does not alter the threshold for the target contrast, the combined probability for a voxel to appear in the masked contrast is in the order of 0.05 x 0.001 uncorrected due to the orthogonality of the contrasts. 

To plot repetition suppression effects for the R fusiform region, select the third cluster from the top (by clicking 48 60 –15; slightly more posterior to that identified above) and press ‘plot’.

Select  ‘event/epoch-related responses’:

[image: image231.png]Plot,

Contrast of parameter estimates
Fitted and adjusted responses
Event/epoch-—related responses
Plots of parametric responses
Volterra Kernels




Specify ‘1:4’:

[image: image232.png]which trials or conditions (1 to®) [T



 

Select ‘fitted response’:

[image: image233.png]plot in terms of.

fitted response

fitted response and PSTH

fitted response +/~ standard error
fitted response and adjusted data




To adjust the scale of the x-axis (time), press ‘attrib’ from the plot controls panel:

[image: image234.png]’1 hold | 1 grid | 4 Box

text

attrib_~





Select Xlim, and change the default (-4 32) to ‘0 10’:

[image: image235.png][2] Enter Xlim  [4732



 

Note the signal decrease between first and second presentations of both famous and non-famous faces:  

[image: image236.png]response at (45, -60, 151

08

o5

04

02

fitted response

& 5
peri~stimulus time fsecsh
NI Gession 1 -1
K2 (Session 1)~ b
Fi (Session ) -g
F2 Gession 1) ¢

7o




Other options from the plot controls panel:

· hold: allows overlaying of plots

· grid: toggles between grid on/off

· Box: toggles between axes/box

· text: allows editing of title and/or axis labels.

To assess movement-related activation, press ‘Results’, select the SPM.mat file, and select ‘F-contrast’ in the Contrast Manager. Specify e.g. ‘Movement-related activation’ (name) and either

‘0 0 0 0 0 0 0 0 0 0 0 0 1

 0 0 0 0 0 0 0 0 0 0 0 0 0 1

 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1

 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1

 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1

 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1’ 

in the ‘contrasts weights matrix’ window, or ‘1:12 19’ in the ‘columns for reduced design’ window. 

[image: image237.png]5

e feme e

Design matrix

parameter estimability

name defined, contrast deined





Submit and select the contrast, specify ‘mask with other contrasts?’ (no), ‘title for comparison’ (accept default), ‘corrected height threshold’ (yes), and ‘corrected p-value’ (accept default). When the MIP appears, press ‘volume’:

[image: image238.png]Movement-related activation

contrasts)

%

B

13579151718
Desian matrix

volume summary (p-values corrected for entire volume)

Vorel-Tevel
oot % Pumas  Tamas F & rrien)

bl shows o most._toc mavim:» 8 Orom apart o st

3952 0000 050 carnced) . Deorews o freden =53, 14T
80 1505 cereced) Smacboars M= 114113 110 fmm) =289 40 bl

e e
T ekt
Expaaed onas porcusnr, o = 0092 Soartm 6= 160435 ma
Soeas vocels pur dumer. > = 0987 Voaisiee 630,30 mm





The table displays all clusters where signal changes correlated with any of the six movement parameters are significantly different from zero. Note the large edge effects, which, however, are not apparent in the fusiform regions.

Finally, consider the effects of the interval between first and second presentations of famous and non-famous faces. For this purpose, an alternative statistical model needs to be estimated, with four trial types. (1) First and second presentation of a non-famous face (N1 and N2 collapsed). (2) First and second presentation of a famous face (F1 and F2 collapsed). (3) Errors in judging non-famous faces. (4) Errors in judging famous faces. These are modelled with the canonical hrf alone, with two parametric (exponential) modulations added for second presentations of non-famous and famous faces. See the README.txt for details of design specification.

After completion of model estimation, press ‘Results’ and select the SPM.mat file. When the Contrast Manager appears, define an F-contrast ‘Effect of Lag (on canonical N+F)’ (name) and ‘0 1 0 1’, and a t-contrast ‘Canonical: Faces>Baseline’ (name) and ‘1 0 1 0’. Select the F-contrast, specify ‘mask with other contrasts’ (yes), select ‘Canonical: Faces>Baseline’, specify ‘uncorrected mask p-value’ (accept default), ‘nature of mask (inclusive), ‘title for comparison’ (accept default), ‘corrected height threshold’ (no), and ‘corrected p-value’ (accept default). When the MIP appears, press ‘volume’:

[image: image239.png]on canonical N+F) (masked [inclusivel by Canonical: Faces > Basel

contrasts)

SPMresults:

s

T35 7911
Desian matrix

Statistics: _votume summary (o-values corrected for entire volume)

et

iR
kikihdudnabia
X TIITTEIEE]
Burmeaanybaky





The table displays all clusters where the exponential change in activation between first and second presentations for famous OR non-famous faces for the canonical hrf is significantly different from zero AND the canonical hrf for the first two conditions is significantly larger than zero (baseline). To plot these parametric effects, select the R fusiform region (45 –60 –18, similar to the region identified in the previous categorical analysis for repetition effects), and press ‘plot’. Select ‘Plots of parametric responses’ and select ‘F’ (or ‘N’).  Note that the ‘attrib’ option does not allow adjustment of the scale of the Z-axis; therefore, to change the scale for all axes, type e.g. ‘figure (1), axis ([0 30 0 100 0 1])’ in the Matlab window.

[image: image240.png]perstimulus time (secs)

1ag

1z 5 e e sssudses

100



[image: image241.png]porstimulus time (secs)

ag

" i ] v sesuadsan

100





Note that these repetition effects are transient (decrease with increasing intervals between first and second presentations), especially for famous faces.
5. Miscellaneous functions and utilities

This section describes miscellaneous functions and utilities that are included with SPM.

[image: image242.png]Display Check Reg Render.. — FMRI ~
Toolbores. | Means. | imCalc HOR edit
Help Utils. = Defaults Quit





5.1 Display: Interactive orthogonal display of selected image.

[image: image243.png]Display CheckReg | Render.. —~| FMRI =





[image: image244.png]Crosshair Position

mm: 6475192
v [ 1360 147.7 944
Intensity:  196.534

right fmm}

foward fmm}
up fmm}

pitch frady
roll frad}

yaw frad}

resize £

resize fy}

resize {2}

Reorient images.

File: ./struct/sM04136_0006.img

Dimensions:
Datatype;
Intensity:

SPM comp:

Vox size;
Origin:
Dir Cos:

256 % 256 X 176
int16
V=0125%
ible

Tx1x1
128 128 88

0.000 0.000 -1.000
~1.000 0.000 0.000
0.000 1.000 0.000

Full Volume

= Hide Crosshairs

T—

world Space

= bilin interp

Auto Window

= Add Blobs





Display utilities:

Bottom left panel: 

· Image intensity at crosshair position. Translation, rotation and scaling parameters can be entered to reorient images. Image is displayed with new orientation values. 

· Reorient images… - overwrites the image .mat file with the new transformation as specified by the orientation values entered above. 

· Reset - overwrites the .mat file to contain an estimate of the space of the image.

Bottom right panel: contains information about image, its size and space.

· Full volume/160x160x160mm/…etc: displays full image volume or a selected sub-volume.

· World Space / Voxel Space: World space – displays image in the space of its .mat file. Voxel space – displays image in voxel space, i.e. without using .mat file. 

· AutoWindow / Manual Window: Auto Window – scales image between minimum and maximum values. Manual Window – manually select values to scale image intensity values.

· Hide Crosshairs – toggles crosshair display on and off.

· NN interp / bilinear interp / sinc interp – interpolation used for displayed image.

· Add/Remove blobs – can add up to 6 sets of blobs from previously executed statistics on displayed image.

5.2 Check Reg(istration)

[image: image245.png]Display CheckReg | Render.. —~| FMRI =





This allows >1 and <15 images to be displayed at the same time, in the space of the .mat file of the first image selected. This utility is VERY useful for checking coregistration results.

5.3 Render…

[image: image246.png]Display CheckReg | Render.. —~| FMRI =





Options:

· Display – this displays up to 3 sets of activations on a volume rendered brain. There is an option between new style and old style renderings. Examples of these are shown in the figure below (left =new, right=old). For normalised activations it is possible to select one of the canonical rendered brains. Alternatively using the Xtract Brain option (below) it is possible to create ones own rendered brain for subject specific renderings. 

· [image: image247.png]


  [image: image248.png]




New style overlay
Old style overlay
· Xtract Brain – this requires that a segmentation has been performed and that grey and white matter segmented images are available (see segmentation, 2.6). Options are:

[image: image249.png]save,
Save Extracted Brain
Save Rendering
Save Extracted Surface

* Save Extracted Brain and Rendering
Save Extracted Brain and Surface
Save Rendering and Surface
Save All




· Save Extracted Brain – extracted brain is saved as a binary mask image (i.e. 1s identifying the brain and 0s elsewhere) with the name brain_filename.img, hdr, .mat. Use display to visualise results (as in figure below).

· Save Rendering – rendered brain is displayed (as in figure below) and results are saved as render_filename.mat. This file can be selected to display blobs on a rendered surface (e.g. see x).

· Save Extracted Surface – brain surface is saved as surf_filename.mat. The resulting brain surface can be displayed (as in figure below) and rotated. Type help spm_xbrain at the matlab prompt for code to manipulate the surface. 


[image: image250.png]


[image: image251.png]


[image: image252.png]



  
Extracted brain
Rendered brain 
Brain surface

5.4 fMRI/PET 

[image: image253.png]Display CheckReg | Render.. —~| FMRI =





Option to toggle between the PET and the fMRI mode.

5.5. Toolboxes     

[image: image254.png]Toolboxes. ~ | Means.. — ImCalc HDR edit





This option provides access to SPM toolboxes installed in the toolbox subdirectory of the SPM installation directory.  A sub-directory must exist under the SPM toolbox directory named after the toolbox. There must be an M-file in this sub-directory whose name ends with the toolbox directory name. E.g. a toolbox for Deformations would contain an M-file called ‘spm_Deformations.m’ in a subdirectory called Deformations under the SPM toolbox directory. 

5.6 Means...

[image: image255.png]Toolboxes. ~ | Means.. — ImCalc HDR edit





Options:

· Mean: creates a mean image from selected images and writes result to mean.img in current working directory. Selected images must have same dimensions, voxel sizes and orientations.

· AdjMean: creates a mean image from selected images after adjusting for conditions and confounds using the general linear model. The user selects a design, scaling/normalisation and adjustment options in a similar way to doing SPM-PET (section 3.1). The adjusted means created with this step were previously used for PET RFX analyses. See section x for updated RFX analysis.

· adjMean/fMRI -  creates a mean image from selected images after adjusting for conditions and confounds using the general linear model. The user specifies the design, the required global normalisation and high-pass filtering. An adjusted mean is created for each condition specified in a single session fMRI epoch-related study. The adjusted means created with this step were previously used for fMRI RFX analyses. See section x for updated RFX analysis.

5.7 ImCalc

[image: image256.png]Toolboxes. ~ | Means.. — ImCalc HDR edit





ImCalc allows basic algebraic calculations to be performed on selected images and the result written as an image. The user must specify the expression to be evaluated in standard matlab form with the selected images referred to in order as i1, i2, i3 …etc. Logical, relational and trigonometric operators can be used as well as basic arithmetic operators. For information on using these operators in matlab, type ‘help arith’, ‘help relop’, ‘help slash’ and ‘help elfun’ at the matlab prompt. The user must enter a name for the resulting output image. This will be written to the current working directory.
5.8 HDR edit
[image: image257.png]Toolboxes. ~ | Means.. — ImCalc HDR edit





HDR edit allows an image header to be edited and applied to selected images. It also allows the creation of image headers. Editing options are:

[image: image258.png]Options.

set Image Dimensions — pixels in x, y &2
set Voxel Dimensions — mm in x, y &z
set Scalefactor

set Data Type

set Offset into file — bytes

set Origin — x, y & z coordinate of voxel
set Image description

APPLY to images

Quit





Set options for editing, then select APPLY to images. A new header file will be written for selected images. This utility is especially useful for adjusting the origin of one or more images to provide a better starting point for coregistration with an image where the origin is very different. 

5.9 Help

[image: image259.png]Help utils. = | pefaults | | Quit |





This provides a graphical user interface for the help files associated with all buttons in the SPM menu window.

5.10 Utils…

[image: image260.png]Help utils. = | pefaults | | Quit |





Options:

· CD – change present working directory

· PWD – report present working directory

· delete – file deletion utility

· Show SPM – pops up figures associated with this SPM session. This is very useful when running >1 SPM at a time

· Run mFile – run selected Matlab M-file in workspace

· SPMweb – opens http://www.fil.ion.ucl.ac.uk/spm in web browser
5.11 Defaults

[image: image261.png]Help utils. = | pefaults | | Quit |





This option allows current defaults to be edited. New default settings are reset to SPM defaults when a new SPM session is started.  

[image: image262.png]Defaults Area?.
Printing Options
Miscellaneous Defaults
Header Defaults — FMRI
Realignment
Coregistration
Spatial Normalisation
Statistics — FMRI
Reset All




Printing Options – allows a variety of different printing options to be selected.

Miscellaneous Defaults:

· Log to file - allows user to specify a file in which to log all SPM-user dialogue.

· Command Line Input – allows user to select GUI or command line input mode.

· Grid Value – allows user to select intensity for any overlaid grids (e.g. on the MIPS display, slices overlay). The grid is brightest for a value of 1 and disappears for a value of 0. 
Header Defaults –PET/FMRI – these values are used as the defaults for the HDR edit utility.

The defaults for Realignment, Coregistration, Spatial Normalisation, Statistics –PET/ FMRI were discussed in each of the relevant sections.

Reset All – this reloads the SPM startup defaults from spm_defaults.m. 

5.12 Quit

[image: image263.png]Help utils. = | pefaults | | Quit |





This exits SPM and clears the workspace.



















PAGE  
1

_1050507207.doc
[image: image1.png]Statistics: _single cluster summary (p-values corrected for entire volume)

ClusterTavel VoreT-lovel
e i e S ]








_1050507262.doc
[image: image1.png]Fitted and adjusted responses
active>rest

responsa at [0, 20, €]

00 200 300 400 00 &0
time (seconds)







_1050830605.doc
[image: image1.png]i

Selected 1 controst. press “Done’ when fished








_1050826867.doc
[image: image1.png]






_1050507250.doc
[image: image1.png]size of effact at [50, 20, 6]
- @ e B ow B o &

Contrast of parameter estimates
active>rest

effect








_1048417987.doc
[image: image1.png][Erezte whare

All Images (1..n)
Images 2..n

* All Images + Mean Image
Mean Image Only







_1050506607.doc
[image: image1.png]activesrest

contrastts)

1 z
Desian matrix








_1035561829.doc
[image: image1.png][10] parameters for trial 1







_1035804398.doc
[image: image1.png]






