## Slide 1: fMRI data pre-processing
Joaquín Navajas
Sarah Buck
2014
Methods for Dummies
Realigning and unwarping

## Slide 2
Spatial Normalisation
(including co-registration)
fMRI time-series
Smoothing
Anatomical reference
Statistical Parametric Map
Parameter Estimates
General Linear Model
Design matrix
Motion Correction
(and unwarping)
Pre-processing
|
|
|
|
|
|
|
|
|
|
|
|
|
|

## Slide 3: Pre-processing in fMRI
4 pre-processing steps:
Realignment
Unwarping
Co-registration
  Linear transformation to combine functional and anatomical images for the same subject
Spatial normalisation
  Non-linear transformation to combine images from multiple subjects
  MNI space
  Make sure we look at the same brain over time
Notes:   Compare activations corresponding to the same part of the brain

## Slide 4: Pre-processing in fMRI
4 pre-processing steps:
Realignment
Unwarping
Co-registration
  Linear transformation to combine functional and anatomical images for the same subject
Spatial normalisation
  Non-linear transformation to combine images from multiple subjects
  MNI space
  Make sure we look at the same brain over time
Notes:   Compare activations corresponding to the same part of the brain

## Slide 5: Pre-processing in fMRI
Signal in raw fMRI data is influenced by many factors other than brain activity
  Heart beat, respiration, head movement, etc.

## Slide 6: Motion in fMRI
Problem
  Increase residual variance
  Movement can be correlated with the conditions
  Reduce sensitivity

## Slide 7: Motion in fMRI
Solution: Reduce movement
How?
  Prevention
    Short scanning sessions, instructions not to move, swallow etc., make subject comfortable, padding
  Correction
    Filter the data to remove these artefacts
    Realigning
Soft padding

## Slide 8: Realigning
Realign images acquired from the same subject over time
3D rigid-body transformation – size and shape of the brain images do not change
Images can be spatially matched
Two steps:
  Registration (estimate)
  Transformation (reslice)

## Slide 9: Realigning: 1. Registration
Estimate 6 parameters for transformation between the source images and a reference image (1st image)
  3 translations (mm)
  3 rotations (degrees)
Translation
Rotation

## Slide 10: Realigning: 1. Registration
Translations
Pitch about X axis
Roll about Y axis
Yaw about Z axis
The transformations can be represented as matrices, and are multiplied together
Estimation of the transformation parameters for each image, in SPM

## Slide 11: Realigning: 2. Transformation
Apply the transformations to the functional images
Each image is matched to the first image of the time series
Mean of these aligned images
Motion corrected
Mean functional
fMRI time series
Notes: Mean functional image will also be used at a later stage (coregistration) to combine functional and anatomical images

## Slide 12: Realigning: 2. Transformation
Head movement
Estimate transformation parameters based on 1st slice
Apply the transformation parameters on each slice
Calculate position of the brain for the 1st slice

## Slide 13: Realigning: 2. Transformation
Re-sample (re-slice) source image onto the same grid of voxels as the reference image
Need to fill in the gaps
Determine values of the new voxels
    Interpolation

## Slide 14: Realigning: 2. Transformation - Interpolation
Simple interpolation
  Nearest neighbour: take the intensity of the closest voxel
  Tri-linear: take the average of the neighbouring voxels
B-spline
  Better solution
  Used in SPM
Notes:  The voxel that we are trying to determine with interpolation

## Slide 15: Realigning: 2. Transformation
Realign
After having realigned, we need to determine the intensity of each new voxel
Original voxel
New voxel to identify
Original voxels
New voxels to determine after realigning
For example, want to determine this voxel
3 types of interpolation possible:
  Nearest Neighbour
  Trilinear
  B-Spline
Original image
Resampled image
Put in slideshow mode to understand the process!

## Slide 16: Pre-processing in fMRI
4 pre-processing steps:
Realignment
Unwarping
Co-registration
  linear transformation to combine functional and anatomical images for the same subject
Spatial normalisation
  Non-linear transformation to combine images from multiple subjects
  Make sure we look at the same brain over time

## Slide 17
Even after realignment, there is still a lot of variance that is explained by movement (“movement-related residual variance”, or just “residual variance”)
This can lead to two problems, especially if movements are correlated with the task:
  Loss of sensitivity (we might miss “true” activations)
  Loss of specificity (we might have false positives)
After realignment…we’re not quite done

## Slide 18: Why do we have “residual variance”?
Many different sources of movement-related variance
  SPM tackles one of them
Different materials (e.g., air, gray matter, white matter) have different susceptibility (χ), producing a field inhomogeneity
A deformation field gives you the strength and direction of deflections in the magnetic field relative to the object
This deformation is particularly large when there is an air-tissue interface
  Orbitofrontal cortex
  Medial temporal lobe

## Slide 19: Why do we have “residual variance”?

## Slide 20: Why do we have “residual variance”?

## Slide 21: Why do we have “residual variance”?

## Slide 22: “Susceptibility-by-movement” unwarping
How to reduce these distortions?
   Measure the distortion field with Fieldmap
What does the Unwarp toolbox of SPM?
   Eliminate the variance that comes from “moving in front of the funny mirror” (susceptibility-by-movement variance)

## Slide 23: “Susceptibility-by-movement” unwarping
How much the deformation field changes with movement (i.e., spatial derivatives of the deformation field)
Movements
+
Variance in the Time Series
(Estimated)
Movements
+
Variance in the Time Series
How much the deformation field changes with movement (i.e., spatial derivatives of the deformation field)
Direct Problem
Inverse Problem

## Slide 24: What derivatives should we model?
x
y
z
B0


B0(, ) = B0 (, ) + [(δB0/ δ)  + (δB0/ δ ) ]
Static Field
Derivatives with respect to “Pitch” and “Roll”
Laws of Physics tell you that only  and  matter, but for a constant field!
In practice, adding any of the other 4 degrees of freedom (3 translations + “Yaw”) doesn’t add much (i.e., most of the variance is explained by “Pitch” and “Roll”)
UNWARP in SPM let you include the second derivatives in this model, but in practice this is rarely useful

## Slide 25: What derivatives should we model?
B0(, ) = B0 (, ) + [(δB0/ δ)  + (δB0/ δ ) ]
Static Field
Derivatives with respect to “Pitch” and “Roll”
The image is therefore re-sampled
assuming voxels, corresponding to
the same bits of brain tissue under such deformation field

## Slide 26: When and why should I use UNWARP?
If there is considerable movement in your data (> 1 mm or > 1 deg) then UNWARP can remove SOME of the unwanted variance without removing “true” activations.
tmax=13.38
No correction
tmax=5.06
Correction by covariation
tmax=9.57
Correction by Unwarp

## Slide 27: When and why should I use UNWARP?
If there is considerable movement in your data (> 1 mm or > 1 deg) then UNWARP can remove SOME of the unwanted variance without removing “true” activations.
Limitations
It doesn’t remove movement-related residual variance coming from other sources, such as:
Susceptibility-dropout-by-movement interaction
Spin-history effects
Slice-to-vol effects

## Slide 28: Realign & Unwarp Summary
3 issues covered:
  Rigid-Body Motion (Realign)
  Deformations (Field Map)
  Interactions Movement-Deformation (Unwarp)

## Slide 29: Realign & Unwarp Summary

## Slide 30: Realign & Unwarp Summary

## Slide 31: Realign & Unwarp Summary

## Slide 32: Realign & Unwarp Summary

## Slide 33: References - Realigning
Ashburner & Friston. Rigid Body Registration. Chapter.
Previous years’ MdF presentations
Ged Ridgway (2010). UBC SPM Course 2010. http://www.pet.ubc.ca/sites/default/files/01_Spatial_Preprocessing.pdf
Guillaume Flandin (2012). fMRI Preprocessing http://info.vtc.vt.edu/spmclass/01_Preprocessing.pdf
Andrew Jahn. Andy’s Brain Blog http://andysbrainblog.blogspot.co.uk/2012/10/fmri-motion-correction-afnis-3dvolreg.html
Matthijs Vink (2007). Preprocessing and Analysis of Functional MRI data. Rudolf Magnus Institute of Neuroscience.

## Slide 34: References - Unwarping
SPM toolbox tutorial: http://www.fil.ion.ucl.ac.uk/spm/toolbox/unwarp/
Paper presenting the method behind UNWARP:
Andersson JLR, Hutton C, Ashburner J, Turner R, Friston K (2001). Modelling geometric deformations in EPI time series. NeuroImage 13:90-919
Previous years’ MfD slides
General about movement-relates issues:
Friston KJ, Williams SR, Howard R, Frackowiak RSJ and Turner R (1995). Movement-related effect in fMRI time-series. Magn Reson Med 35:346-355