## Slide 1: Analysis of Optically Pumped Magnetometer (OPM) Data
Stephanie Mellor

## Slide 2: Contents
Why use OPMs?
How does an OPM work?
What does that mean for data analysis?
The existing SPM M/EEG functions are still valid. We only need to think about how we apply them slightly differently

## Slide 3
National Institute of Mental Health, NIH
QuSpin

## Slide 4: Why Use OPMs?
Wearability 1 – Higher Signal

## Slide 5: Why Use OPMs?
Wearability 1 – Higher Signal
Boto et al. 2016
Ideal/SQUID lead field norm
~4 times increase
~2

## Slide 6: Why Use OPMs?
Wearability 2 – Spatial Information
40fT
0
-40
4fT
0
-4
Iivanainen et al (2019)

## Slide 7: Why Use OPMs?
Flexible Sensor Placement
A
B
C
Tierney et al., 2021, NeuroImage “Mouth Magnetoencephalography: A Unique Perspective on the Human Hippocampus.”

## Slide 8: Why Use OPMs?
Flexible Sensor Placement
EMG
Brain
Spinal cord
Mardell et al., submitted
Mardell et al., 2022 BioRxiv
Notes: Spinal MEG

## Slide 9: Why Use OPMs?
Space Requirements
Borna, 2017
MSL & QuSpin
1.3 m
1.3 m
2 m
3.5 m
4.3 m
National Institute of Mental Health, NIH

## Slide 10: Why Use OPMs?
Movement
Evoked response to button press

## Slide 11: Why Use OPMs?
Movement
Feys et al., 2022
O’Neill et al., in prep
Hill et al., 2019
Roberts et al., 2019
Notes: Exciting new experiments

## Slide 12: How does an OPM work?
The laser pumps the Rubidium into a higher energy state, where the spin of each atom is aligned
Once aligned, the gas is transparent to laser light
A magnetic field transverse to the laser beam will knock atoms out of this energy state
The laser can then do work to bring the vapour back to this higher energy state. This uses energy and means less laser light arrives at the photodiode.
Laser
Gaseous Rb87
Photodiode
-20 0 20
Applied field (nT)
Output (V)
Notes: Good morning everyone – I am going to be talking about Realising the advantages of OPM-MEG using Scanner casts and data modelling. This project is a collaborative project between UCL and and UON funded by the Wellcome trust. This talk will focus on the UCL side of the collaboration with with the aim of highlighting how we might make a transition to using OPM-MEG as a clinical tool.

## Slide 13: How does an OPM work?
Spin Exchange Relaxation Free (SERF)
B
Notes: Conditions for an OPM to work

## Slide 14: How does an OPM work?
Spin Exchange Relaxation Free (SERF)
B
Notes: Conditions for an OPM to work

## Slide 15: How does an OPM work?
Spin Exchange Relaxation Free (SERF)
Short relaxation time
Long relaxation time
B
Notes: Conditions for an OPM to work

## Slide 16: How does an OPM work?
Spin Exchange Relaxation Free (SERF)
Increase the number of collisions by:
Increasing the density of the gas
Increasing the temperature
B
Notes: Conditions for an OPM to work

## Slide 17: How does an OPM work?
SERF
Reducing the magnetic field increases the time for atomic precession,
more collisions per precession
no net polarisation change in one precession
B
Notes: Conditions for an OPM to work

## Slide 18: How does an OPM work?
Conditions for SERF:
  Dense gas
  High temperature
  Zero (or extremely low) magnetic field
Apply an oscillating electric field and you can infer the direction of the magnetic field from the photodiode output
Laser
Gaseous Rb87
Photodiode
-20 0 20
Applied field (nT)
Output (V)
Notes: Good morning everyone – I am going to be talking about Realising the advantages of OPM-MEG using Scanner casts and data modelling. This project is a collaborative project between UCL and and UON funded by the Wellcome trust. This talk will focus on the UCL side of the collaboration with with the aim of highlighting how we might make a transition to using OPM-MEG as a clinical tool.

## Slide 19: How does an OPM work?
Linearity and CAPE
Signal of interest
Non-linearity
Cross-axis terms
Change OPM gain and effective recording axis
Field change along axis of interest
Tim M. Tierney et al., ‘Optically Pumped Magnetometers: From Quantum Origins to Multi-Channel Magnetoencephalography’, NeuroImage (2019)
Joonas Iivanainen et al., ‘On-Scalp MEG System Utilizing an Actively Shielded Array of Optically-Pumped Magnetometers’, NeuroImage (2019)
Cross axis terms

## Slide 20: Conditions for OP-MEG
A low-field environment
Holmes et al. 2019
Holmes et al. 2022
Iivanainen et al., 2019
Zhang et al., 2020

## Slide 21: How does an OPM work?
Closed loop systems
Brookes et al., 2022
Feedback OFF
Feedback ON
QuSpin, 2023

## Slide 22: How does an OPM work?
Bandwidth
Boto et al., 2018

## Slide 23: How does an OPM work?
Alternative sensor designs
NMOR
Unshielded
Helium-4 (Mag4Health)
Limes et al., 2020
Gutteling et al., 2023
Bbias
Kowalczyk et al., 2020

## Slide 24: What does that mean for data analysis?
Magnetometers pick up more background noise than gradiometers
Additional Noise Sources
Magnetometer
Axial Gradiometer
Planar Gradiometer

## Slide 25: What does that mean for data analysis?
Additional Noise Sources
Line Noise
Motion tracking camera
ICA, SSP, DSSP, temporal filtering and reference cancellation all work but:
Need to think about the number of channels
And is the noise source moving relative to the OPMs?
Are the default settings appropriate?
Drift and Vibration

## Slide 26: What does that mean for data analysis?
Movement Noise
The magnetic field is not constant in space. Rotations will also lead to field changes.
Movement noise can be reduced post-hoc, but it’s worth considering in your experimental design

## Slide 27: What does that mean for data analysis?
Interference Suppression
Uncorrected
After Homogeneous Field Correction
Tierney et al., 2021

## Slide 28: What does that mean for data analysis?
Course Agenda – Wednesday 31st May​ |  | 
9.30-10.00​ | Day 2: Welcome and Registration​ | Registration (Conservatory)​ Refreshments (Boardroom)​
​ | Chair: Dorottya Hetenyi​ | ​
10.00-12.00​ | Group M/EEG dataset analysis- demo​ | Jason Taylor​
12.00-12.40​ | Analysis of Optically Pumped Magnetometers (OPM) data​ | Stephanie Mellor​
12.40-13:15​ | OPM data analysis- demo​ | Robert Seymour​
13.15-14.15​ | Lunch ​ | Boardroom​
​ | Chair: TBA​ | ​
14.15 - 15.15​ | Bayesian inference​ | Noor Sajid​
15.15 – 16.15​ | M/EEG source analysis​ | Jose David Lopez​
16.15-16.45​ | Break​ | Refreshments (Boardroom)​
16.45 – 17.30​ | M/EEG source analysis -demo​ | Mansoureh Fahimi​
17.30 - 18.30​ | General Q&A​ | All faculty ​
18.30- …​ | Social Event​ | Conservatory/ Reception​

## Slide 29: Any Questions?